## Sheet1
operating condition | summer setpoint for chiller supply water temperature/℃ | FCU speed setting | winter setpoint for chiller supply water temperature/℃ | heating terminal operation mode in winter
1 | 8 | Low | 45 | Only FCU
2 | 8 | Medium | 45 | Only FCU
3 | 8 | High | 45 | Only FCU
4 | 10 | Low | 45 | Only FCU
5 | 10 | Medium | 45 | Only FCU
6 | 10 | High | 45 | Only FCU
7 | 12 | Low | 45 | Only FCU
8 | 12 | Medium | 45 | Only FCU
9 | 12 | High | 45 | Only FCU
10 | Optimal | - | 45 | ONLY UFH
11 | Optimal | Low | 45 | FCU+UFH
12 | Optimal | Medium | 45 | FCU+UFH
13 | Optimal | High | 45 | FCU+UFH
14 | Optimal | Low | 35 | Only FCU
15 | Optimal | Medium | 35 | Only FCU
16 | Optimal | High | 35 | Only FCU
17 | Optimal | - | 35 | Only UFH
18 | Optimal | Low | 35 | FCU+UFH
19 | Optimal | Medium | 35 | FCU+UFH
20 | Optimal | High | 35 | FCU+UFH
21 | Optimal | Low | 55 | Only FCU
22 | Optimal | Medium | 55 | Only FCU
23 | Optimal | High | 55 | Only FCU
24 | Optimal | - | 55 | Only UFH
25 | Optimal | Low | 55 | FCU+UFH
26 | Optimal | Medium | 55 | FCU+UFH
27 | Optimal | High | 55 | FCU+UFH
Performance curve | Performance curve function expression
CAP-T
EIR-T
EIR-PLR | [5 empty] | Time | Outside temperature | Outdoor relative humidity
9:15 | 31.2 | 77.3 |  | 08/30 01:00:00 | 28.97 | 9:15 | 31.2 | 77.3 |  |  | 31 | Time | Indoor temperature | Indoor relative humidity
10:15 | 33.2 | 68 |  | 08/30 02:00:00 | 28.68 | 10:15 | 32.2 | 72 |  |  |  | 9:15 | 31 | 78.2
11:15 | 33 | 62 |  | 08/30 03:00:00 | 28.475 | 11:15 | 33 | 62 |  |  |  | 10:15 | 26.4661 | 59.2087
12:15 | 31.2 | 71.4 |  | 08/30 04:00:00 | 28.295 | 12:15 | 31.2 | 71.4 |  |  |  | 11:15 | 26.2644 | 57.1941
13:15 | 28.6 | 95.6 |  | 08/30 05:00:00 | 28.15 | 13:15 | 32.1 | 75.6 |  |  |  | 12:15 | 25.9476 | 57.1159
14:15 | 30.8 | 84.1 |  | 08/30 06:00:00 | 28.17 | 14:15 | 34.1 | 69.1 |  |  |  | 13:15 | 26.3448 | 59.069
15:15 | 29.4 | 86.1 |  | 08/30 07:00:00 | 28.465 | 15:15 | 32.7 | 86.1 | outdoor relative humidity+K40度+H33:J34 |  |  | 14:15 | 25.5708 | 59.0423
16:15 | 28.4 | 90.2 |  | 08/30 08:00:00 | 29.235 | 16:15 | 31.8 | 90.2 |  |  |  | 15:15 | 26.0787 | 63.9276
17:15 | 28.8 | 85 |  | 08/30 09:00:00 | 30.325 | 17:15 | 30.5 | 95.3 |  |  |  | 16:15 | 26.3806 | 61.7848
18:15 | 28 | 87 |  | 08/30 10:00:00 | 31.395 | 18:15 | 29.6 | 95.1 |  |  |  | 17:15 | 26.1317 | 61.9481
19:15 | 27.2 | 88.7 |  | 08/30 11:00:00 | 32.345 | 19:15 | 29.3 | 88.7 |  |  |  | 18:15 | 26.0571 | 58.5802
20:15 | 27 | 87.2 |  | 08/30 12:00:00 | 33.07 | 20:15 | 28 | 92.2 |  |  |  | 19:15 | 26.209 | 62.5086
21:15 | 27.2 | 84.6 |  | 08/30 13:00:00 | 33.6 | 21:15 | 27.2 | 88.6 |  |  |  | 20:15 | 25.8844 | 63.3652
22:15 |  |  |  | 08/30 14:00:00 | 33.975 | 22:15 | 27.2 | 69.8 |  |  |  | 21:15 | 25.9486 | 57.6237
23:15 |  |  |  | 08/30 15:00:00 | 34.1 | 23:15 | 26.9 | 82.1 |  |  |  | 22:15 | 26.3902 | 61.7311
24:15 |  |  |  | 08/30 16:00:00 | 33.89 | 24:15 | 27 | 73.4 |  |  |  | 23:15 | 25.9933 | 62.9994
25:15 | 26.7 | 85.7 |  | 08/30 17:00:00 | 33.46 | 25:15 | 26.7 | 85.7 |  |  |  | 24:15 | 26.3944 | 63.9112
26:15 | 26.5 | 87.5 |  | 08/30 18:00:00 | 32.91 | 26:15 | 26.5 | 87.5 |  |  |  | 25:15 | 26.4257 | 58.9677
27:15 | 26.4 | 91.3 |  | 08/30 19:00:00 | 32.135 | 27:15 | 27.2 | 79.3 |  |  |  | 26:15 | 25.5814 | 61.7085
28:15 | 26.9 | 90.1 |  | 08/30 20:00:00 | 31.375 | 28:15 | 26.9 | 84.1 |  |  |  | 27:15 | 26.1591 | 63.0683
29:15 | 26.1 | 90.6 |  | 08/30 21:00:00 | 30.785 | 29:15 | 27.6 | 80.6 |  |  |  | 28:15 | 26.3197 | 59.7402
30:15 | 25.3 | 91.3 |  | 08/30 22:00:00 | 30.245 | 30:15 | 28.1 | 78.3 |  |  |  | 29:15 | 26.4283 | 61.6469
31:15 | 25.1 | 92.9 |  | 08/30 23:00:00 | 29.775 | 31:15 | 28.5 | 72.9 |  |  |  | 30:15 | 26.4092 | 57.7191
32:15 | 25.4 | 91.4 |  | 08/30 24:00:00 | 29.355 | 32:15 | 29.4 | 71.4 |  |  |  | 31:15 | 25.565 | 63.509
33:15 | 25.8 | 88.2 | [7 empty] | 26.5 |  | 32:15 | 26.0954 | 59.7401
34.1
29.3708