## Sheet1
[10 empty] | Time | Fan coil1 | Fan coil2 | Fan coil3
operating condition | summer setpoint for chiller supply water temperature/℃ | FCU speed setting | winter setpoint for chiller supply water temperature/℃ | heating terminal operation mode in winter | [5 empty] | 9:20 | 30.72 | 65.28 | 65.28
1 | 8 | Low | 45 | Only FCU | [5 empty] | 9:30 | 30.72 | 65.28 | 65.28
2 | 8 | Medium | 45 | Only FCU | [5 empty] | 9:40 | 30.72 | 65.28 | 65.28
3 | 8 | High | 45 | Only FCU | [5 empty] | 9:50 | 30.72 | 65.28 | 65.28
4 | 10 | Low | 45 | Only FCU | [5 empty] | 10:00 | 30.72 | 65.28 | 65.28
5 | 10 | Medium | 45 | Only FCU | [5 empty] | 10:10 | 30.72 | 65.28 | 65.28
6 | 10 | High | 45 | Only FCU | [5 empty] | 10:20 | 30.72 | 65.28 | 65.28
7 | 12 | Low | 45 | Only FCU | [5 empty] | 10:30 | 30.72 | 65.28 | 65.28
8 | 12 | Medium | 45 | Only FCU | [5 empty] | 10:40 | 30.72 | 65.28 | 65.28
9 | 12 | High | 45 | Only FCU | [5 empty] | 10:50 | 30.72 | 65.28 | 65.28
10 | optimal | - | 45 | ONLY UFH | [5 empty] | 11:00 | 30.72 | 65.28 | 65.28
11 | optimal | Low | 45 | FCU+UFH | [5 empty] | 11:10 | 30.72 | 65.28 | 65.28
12 | optimal | Medium | 45 | FCU+UFH | [5 empty] | 11:20 | 30.72 | 65.28 | 65.28
13 | optimal | High | 45 | FCU+UFH | [5 empty] | 11:30 | 30.72 | 65.28 | 65.28
14 | optimal | Low | 35 | Only FCU | [5 empty] | 11:40 | 30.72 | 65.28 | 65.28
15 | optimal | Medium | 35 | Only FCU | [5 empty] | 11:50 | 30.72 | 65.28 | 65.28
16 | optimal | High | 35 | Only FCU | [5 empty] | 12:00 | 30.72 | 65.28 | 65.28
17 | optimal | - | 35 | Only UFH | [5 empty] | 12:10 | 30.72 | 65.28 | 65.28
18 | optimal | Low | 35 | FCU+UFH | [5 empty] | 12:20 | 30.72 | 65.28 | 65.28
19 | optimal | Medium | 35 | FCU+UFH | [5 empty] | 12:30 | 30.72 | 65.28 | 65.28
20 | optimal | High | 35 | FCU+UFH | [5 empty] | 12:40 | 30.72 | 65.28 | 65.28
21 | optimal | Low | 55 | Only FCU | [5 empty] | 12:50 | 30.72 | 65.28 | 65.28
22 | optimal | Medium | 55 | Only FCU | [5 empty] | 13:00 | 30.72 | 65.28 | 65.28
23 | optimal | High | 55 | Only FCU | [5 empty] | 13:10 | 30.72 | 65.28 | 65.28
24 | optimal | - | 55 | Only UFH | [5 empty] | 13:20 | 30.72 | 65.28 | 65.28
25 | optimal | Low | 55 | FCU+UFH | [5 empty] | 13:30 | 30.72 | 65.28 | 65.28
26 | optimal | Medium | 55 | FCU+UFH | [5 empty] | 13:40 | 30.72 | 65.28 | 65.28
27 | optimal | High | 55 | FCU+UFH | [5 empty] | 13:50 | 30.72 | 65.28 | 65.28
[10 empty] | 14:00 | 30.72 | 65.28 | 65.28
Performance curve | Performance curve function expression | [8 empty] | 14:10 | 30.72 | 65.28 | 65.28
CAP-T | [9 empty] | 14:20 | 30.72 | 65.28 | 65.28
EIR-T | [9 empty] | 14:30 | 30.72 | 65.28 | 65.28
EIR-PLR | [5 empty] | Time | outdoor temperature | outdoor relative humidity |  | 14:40 | 30.72 | 65.28 | 65.28
9:15 | 31.2 | 77.3 |  | 08/30 01:00:00 | 28.97 | 9:15 | 31.2 | 77.3 |  | 14:50 | 30.72 | 65.28 | 65.28
10:15 | 33.2 | 68 |  | 08/30 02:00:00 | 28.68 | 10:15 | 32.2 | 72 |  | 15:00 | 30.72 | 65.28 | 65.28
11:15 | 33 | 62 |  | 08/30 03:00:00 | 28.475 | 11:15 | 33 | 62 |  | 15:10 | 30.72 | 65.28 | 65.28
12:15 | 31.2 | 71.4 |  | 08/30 04:00:00 | 28.295 | 12:15 | 31.2 | 71.4 |  | 15:20 | 30.72 | 65.28 | 65.28
13:15 | 28.6 | 95.6 |  | 08/30 05:00:00 | 28.15 | 13:15 | 32.1 | 75.6 |  | 15:30 | 30.72 | 65.28 | 65.28
14:15 | 30.8 | 84.1 |  | 08/30 06:00:00 | 28.17 | 14:15 | 34.1 | 69.1 |  | 15:40 | 30.72 | 65.28 | 65.28
15:15 | 29.4 | 86.1 |  | 08/30 07:00:00 | 28.465 | 15:15 | 32.7 | 86.1 | outdoor relative temperature+K40度+H33:J34 | 15:50 | 30.72 | 65.28 | 65.28
16:15 | 28.4 | 90.2 |  | 08/30 08:00:00 | 29.235 | 16:15 | 31.8 | 90.2 |  | 16:00 | 30.72 | 65.28 | 65.28
17:15 | 28.8 | 85 |  | 08/30 09:00:00 | 30.325 | 17:15 | 30.5 | 95.3 |  | 16:10 | 30.72 | 65.28 | 65.28
18:15 | 28 | 87 |  | 08/30 10:00:00 | 31.395 | 18:15 | 29.6 | 95.1 |  | 16:20 | 30.72 | 65.28 | 65.28
19:15 | 27.2 | 88.7 |  | 08/30 11:00:00 | 32.345 | 19:15 | 29.3 | 88.7 |  | 16:30 | 30.72 | 65.28 | 65.28
20:15 | 27 | 87.2 |  | 08/30 12:00:00 | 33.07 | 20:15 | 28 | 92.2 |  | 16:40 | 30.72 | 65.28 | 65.28
21:15 | 27.2 | 84.6 |  | 08/30 13:00:00 | 33.6 | 21:15 | 27.2 | 88.6 |  | 16:50 | 30.72 | 65.28 | 65.28
22:15 |  |  |  | 08/30 14:00:00 | 33.975 | 22:15 | 27.2 | 69.8 |  | 17:00 | 30.72 | 65.28 | 65.28
23:15 |  |  |  | 08/30 15:00:00 | 34.1 | 23:15 | 26.9 | 82.1 |  | 17:10 | 30.72 | 65.28 | 65.28
24:15 |  |  |  | 08/30 16:00:00 | 33.89 | 24:15 | 27 | 73.4 |  | 17:20 | 30.72 | 65.28 | 65.28
25:15 | 26.7 | 85.7 |  | 08/30 17:00:00 | 33.46 | 25:15 | 26.7 | 85.7 |  | 17:30 | 30.72 | 65.28 | 65.28
26:15 | 26.5 | 87.5 |  | 08/30 18:00:00 | 32.91 | 26:15 | 26.5 | 87.5 |  | 17:40 | 30.72 | 65.28 | 65.28
27:15 | 26.4 | 91.3 |  | 08/30 19:00:00 | 32.135 | 27:15 | 27.2 | 79.3 |  | 17:50 | 30.72 | 65.28 | 65.28
28:15 | 26.9 | 90.1 |  | 08/30 20:00:00 | 31.375 | 28:15 | 26.9 | 84.1 |  | 18:00 | 30.72 | 65.28 | 65.28
29:15 | 26.1 | 90.6 |  | 08/30 21:00:00 | 30.785 | 29:15 | 27.6 | 80.6 |  | 18:10 | 30.72 | 65.28 | 65.28
30:15 | 25.3 | 91.3 |  | 08/30 22:00:00 | 30.245 | 30:15 | 28.1 | 78.3 |  | 18:20 | 30.72 | 65.28 | 65.28
31:15 | 25.1 | 92.9 |  | 08/30 23:00:00 | 29.775 | 31:15 | 28.5 | 72.9 |  | 18:30 | 30.72 | 65.28 | 65.28
32:15 | 25.4 | 91.4 |  | 08/30 24:00:00 | 29.355 | 32:15 | 29.4 | 71.4 |  | 18:40 | 30.72 | 65.28 | 65.28
33:15 | 25.8 | 88.2 | [7 empty] | 18:50 | 30.72 | 65.28 | 65.28
[10 empty] | 19:00 | 30.72 | 65.28 | 65.28
[6 empty] | indoor temperature set point（℃） | 26 |  |  | 19:10 | 30.72 | 65.28 | 65.28
[6 empty] | Fresh air volume flow rate（） | 350 |  |  | 19:20 | 30.72 | 65.28 | 65.28
[6 empty] | Heat pump supply water temperature（℃） | 10 |  |  | 19:30 | 30.72 | 65.28 | 65.28
[6 empty] | Fan Coil Unit (FCU) speed setting | Medium |  |  | 19:40 | 30.72 | 65.28 | 65.28
[10 empty] | 19:50 | 30.72 | 65.28 | 65.28
[10 empty] | 20:00 | 30.72 | 65.28 | 65.28
[10 empty] | 20:10 | 30.72 | 65.28 | 65.28
[5 empty] | Whole Building:Facility Total Purchased Electricity Energy [J](Hourly) |  |  |  |  | 20:20 | 30.72 | 65.28 | 65.28
[5 empty] | 6462849.8537 | 1.7952 | 2.244 |  |  | 20:30 | 30.72 | 65.28 | 65.28
[5 empty] | 6386736.645 | 1.7741 | 2.2176 |  |  | 20:40 | 30.72 | 65.28 | 65.28
[5 empty] | 6333087.724 | 1.7592 | 2.199 |  |  | 20:50 | 30.72 | 65.28 | 65.28
[5 empty] | 6286202.7204 | 1.7462 | 2.1827 |  |  | 21:00 | 30.72 | 65.28 | 65.28
[5 empty] | 6248575.4871 | 1.7357 | 2.1696 |  |  | 21:10 | 30.72 | 65.28 | 65.28
[5 empty] | 6253743.8249 | 1.7372 | 2.1714 |  |  | 21:20 | 30.72 | 65.28 | 65.28
[5 empty] | 6330473.9354 | 1.7585 | 2.1981 |  |  | 21:30 | 30.72 | 65.28 | 65.28
[5 empty] | 5962733.4385 | 1.6563 | 2.0704 |  |  | 21:40 | 30.72 | 65.28 | 65.28
[5 empty] | 6263125.0882 | 1.7398 | 2.1747 |  |  | 21:50 | 30.72 | 65.28 | 65.28
[5 empty] | 6557046.2476 | 1.8214 | 2.2768 |  |  | 22:00 | 30.72 | 65.28 | 65.28
[5 empty] | 6833891.5309 | 1.8983 | 2.3729 |  |  | 22:10 | 30.72 | 65.28 | 65.28
[5 empty] | 7052409.4808 | 1.959 | 2.4488 |  |  | 22:20 | 30.72 | 65.28 | 65.28
[5 empty] | 7182314.5003 | 1.9951 | 2.4939 |  |  | 22:30 | 30.72 | 65.28 | 65.28
[5 empty] | 7206541.315 | 2.0018 | 2.5023 |  |  | 22:40 | 30.72 | 65.28 | 65.28
[5 empty] | 7213964.9721 | 2.0039 | 2.5048 |  |  | 22:50 | 30.72 | 65.28 | 65.28
[5 empty] | 7201502.816 | 2.0004 | 2.5005 |  |  | 23:00 | 30.72 | 65.28 | 65.28
[5 empty] | 7150786.0831 | 1.9863 | 2.4829 |  |  | 23:10 | 30.72 | 65.28 | 65.28
[5 empty] | 6991215.6896 | 1.942 | 2.4275 |  |  | 23:20 | 30.72 | 65.28 | 65.28
[5 empty] | 7333747.0096 | 2.0372 | 2.5464 |  |  | 23:30 | 30.72 | 65.28 | 65.28
[5 empty] | 7114242.7368 | 1.9762 | 2.4702 |  |  | 23:40 | 30.72 | 65.28 | 65.28
[5 empty] | 6951698.8821 | 1.931 | 2.4138 |  |  | 23:50 | 30.72 | 65.28 | 65.28
[5 empty] | 6804447.1756 | 1.8901 | 2.3627 |  |  | 24:00 | 30.72 | 65.28 | 65.28
[5 empty] | 6677449.7654 | 1.8548 | 2.3186 |  |  | 24:10 | 30.72 | 65.28 | 65.28
[5 empty] | 6565003.6765 | 1.8236 | 2.2795 |  |  | 24:20 | 30.72 | 65.28 | 65.28
[10 empty] | 24:30 | 30.72 | 65.28 | 65.28
[10 empty] | 24:40 | 30.72 | 65.28 | 65.28
[10 empty] | 24:50 | 30.72 | 65.28 | 65.28
[10 empty] | 25:00 | 30.72 | 65.28 | 65.28
[10 empty] | 25:10 | 30.72 | 65.28 | 65.28
[10 empty] | 25:20 | 30.72 | 65.28 | 65.28
[10 empty] | 25:30 | 30.72 | 65.28 | 65.28
[10 empty] | 25:40 | 30.72 | 65.28 | 65.28
[10 empty] | 25:50 | 30.72 | 65.28 | 65.28
[10 empty] | 26:00 | 30.72 | 65.28 | 65.28
[10 empty] | 26:10 | 30.72 | 65.28 | 65.28
[10 empty] | 26:20 | 30.72 | 65.28 | 65.28
[10 empty] | 26:30 | 30.72 | 65.28 | 65.28
[10 empty] | 26:40 | 30.72 | 65.28 | 65.28
[10 empty] | 26:50 | 30.72 | 65.28 | 65.28
[10 empty] | 27:00 | 30.72 | 65.28 | 65.28
[10 empty] | 27:10 | 30.72 | 65.28 | 65.28
[10 empty] | 27:20 | 30.72 | 65.28 | 65.28
[10 empty] | 27:30 | 30.72 | 65.28 | 65.28
[10 empty] | 27:40 | 30.72 | 65.28 | 65.28
[10 empty] | 27:50 | 30.72 | 65.28 | 65.28
[10 empty] | 28:00 | 30.72 | 65.28 | 65.28
[10 empty] | 28:10 | 30.72 | 65.28 | 65.28
[10 empty] | 28:20 | 30.72 | 65.28 | 65.28
[10 empty] | 28:30 | 30.72 | 65.28 | 65.28
[10 empty] | 28:40 | 30.72 | 65.28 | 65.28
[10 empty] | 28:50 | 30.72 | 65.28 | 65.28
[10 empty] | 29:00 | 30.72 | 65.28 | 65.28
[10 empty] | 29:10 | 30.72 | 65.28 | 65.28
[10 empty] | 29:20 | 30.72 | 65.28 | 65.28
[10 empty] | 29:30 | 30.72 | 65.28 | 65.28
[10 empty] | 29:40 | 30.72 | 65.28 | 65.28
[10 empty] | 29:50 | 30.72 | 65.28 | 65.28
[10 empty] | 30:00 | 30.72 | 65.28 | 65.28
[10 empty] | 30:10 | 30.72 | 65.28 | 65.28
[10 empty] | 30:20 | 30.72 | 65.28 | 65.28
[10 empty] | 30:30 | 30.72 | 65.28 | 65.28
[10 empty] | 30:40 | 30.72 | 65.28 | 65.28
[10 empty] | 30:50 | 30.72 | 65.28 | 65.28
[10 empty] | 31:00 | 30.72 | 65.28 | 65.28
[10 empty] | 31:10 | 30.72 | 65.28 | 65.28
[10 empty] | 31:20 | 30.72 | 65.28 | 65.28
[10 empty] | 31:30 | 30.72 | 65.28 | 65.28
[10 empty] | 31:40 | 30.72 | 65.28 | 65.28
[10 empty] | 31:50 | 30.72 | 65.28 | 65.28
[10 empty] | 32:00 | 30.72 | 65.28 | 65.28
[10 empty] | 32:10 | 30.72 | 65.28 | 65.28
[10 empty] | 32:20 | 30.72 | 65.28 | 65.28
[10 empty] | 32:30 | 30.72 | 65.28 | 65.28
[10 empty] | 32:40 | 30.72 | 65.28 | 65.28
[10 empty] | 32:50 | 30.72 | 65.28 | 65.28
[10 empty] | 33:00 | 30.72 | 65.28 | 65.28
[10 empty] | 33:10 | 30.72 | 65.28 | 65.28