## Fig.7-Tab.4
Figure 7.
Parallelism of recombinant and native (a) IL-2, (b) IL-6, and (c) IL-12p40 from stimulated PBMCs. As a source of native cytokines, cell culture supernatant of pokeweed mitogen (PWM) stimulated peripheral blood mononuclear cells (PBMCs), isolated from four different chickens, was used. Of these samples, 2× dilutions (chicken 1–4) were tested by capture ELISA and compared with a 2× dilution curve of recombinant cytokines (calibrator). Triangles represent the sample dilutions (and not cytokine concentrations) in comparison to their respective recombinant cytokine (calibration curve). The sample titrations show a high degree of parallelism with the calibration curves of the recombinant cytokines, indicating the similar binding characteristics of the capture ELISAs for the recombinant and native cytokines. Results represent OD450-620 signal.
Table 4.
Parallelism of samples containing native cytokines.
Description:
The values in this file were presented as the optical density at 450 nm (OD450), from which the OD620 was subtracted to correct for irregularities in the plastic of the ELISA plate, and were determined in a FilterMax F5.
[tab a] contains values for IL-2 calibration curve and titrations of cell culture supernatant from four chickens
[tab b] contains values for IL-6 calibration curve and titrations of cell culture supernatant from four chickens
[tab c] contains values for IL-12p40 calibration curve and titrations of cell culture supernatant from four chickens

## a
IL-2
IL-2 calibrator [pg/ml] | measurments [OD450-620]
5000 | 2.3947 | 2.4238
2500 | 2.4646 | 2.4124
1250 | 2.491 | 2.3729
625 | 2.2792 | 2.1885
312.5 | 1.945 | 1.9835
156.25 | 1.5703 | 1.6229
78.125 | 1.1942 | 1.1569
39.0625 | 0.7712 | 0.7403
19.5312 | 0.4593 | 0.4607
9.7656 | 0.2586 | 0.2432
4.8828 | 0.1465 | 0.151
0 | 0.0343 | 0.0339
measurments [OD450-620]
supernatant dilution | chicken/sample 1 |  | chicken/sample 2 |  | chicken/sample 3 |  | chicken/sample 4
1:2 | 1.8615 | 1.7931 | 1.9729 | 1.919 | 1.9264 | 1.9392 | 1.927 | 1.9068
1:4 | 1.4809 | 1.4913 | 1.7761 | 1.8015 | 1.7262 | 1.7169 | 1.6454 | 1.6356
1:8 | 0.994 | 1.0473 | 1.3784 | 1.3923 | 1.284 | 1.2823 | 1.214 | 1.2006
1:16 | 0.7368 | 0.6702 | 0.9579 | 0.9674 | 0.8918 | 0.8827 | 0.7632 | 0.7872
1:32 | 0.4217 | 0.4076 | 0.6022 | 0.5107 | 0.5416 | 0.5402 | 0.4677 | 0.4674
1:64 | 0.241 | 0.2411 | 0.373 | 0.3616 | 0.3209 | 0.3282 | 0.2649 | 0.2581

## b
IL-6
IL-6 calibrator [pg/ml] | measurments [OD450-620]
10000 | 2.3384 | 2.022
5000 | 1.6992 | 1.765
2500 | 1.0924 | 1.1122
1250 | 0.6248 | 0.6569
625 | 0.3802 | 0.3857
312.5 | 0.2295 | 0.2372
156.25 | 0.1473 | 0.1521
78.125 | 0.1068 | 0.099
39.0625 | 0.0849 | 0.087
19.5312 | 0.0736 | 0.0748
9.7656 | 0.0625 | 0.0633
0 | 0.0589 | 0.0579
measurments [OD450-620]
supernatant dilution | chicken/sample 1 |  | chicken/sample 2 |  | chicken/sample 3 |  | chicken/sample 4
1:2 | 0.7284 | 0.7633 | 0.8804 | 0.8908 | 1.1146 | 1.0836 | 1.4203 | 1.3652
1:4 | 0.4634 | 0.4727 | 0.5325 | 0.5539 | 0.6826 | 0.6814 | 0.8886 | 0.8587
1:8 | 0.2828 | 0.3036 | 0.3319 | 0.33 | 0.4088 | 0.4039 | 0.5515 | 0.5413
1:16 | 0.1678 | 0.1786 | 0.197 | 0.1974 | 0.2401 | 0.2248 | 0.3064 | 0.3005
1:32 | 0.1152 | 0.1132 | 0.1296 | 0.1336 | 0.1505 | 0.1336 | 0.1884 | 0.1779
1:64 | 0.0758 | 0.0761 | 0.0894 | 0.0896 | 0.0963 | 0.1016 | 0.1191 | 0.1101

## c
IL-12p40
IL-12p40 calibrator [pg/ml] | measurments [OD450-620]
5000 | 2.38 | 2.7198
2500 | 2.118 | 2.1398
1250 | 1.5757 | 1.6134
625 | 1.0608 | 1.0596
312.5 | 0.6612 | 0.6741
156.25 | 0.3757 | 0.3897
78.125 | 0.2344 | 0.262
39.0625 | 0.1481 | 0.1561
19.5312 | 0.0983 | 0.1002
9.7656 | 0.073 | 0.0736
4.8828 | 0.0612 | 0.0649
0 | 0.0493 | 0.0504
measurments [OD450-620]
supernatant dilution | chicken/sample 1 |  | chicken/sample 2 |  | chicken/sample 3 |  | chicken/sample 4
1:2 | 0.2474 | 0.2474 | 0.2849 | 0.2709 | 0.1653 | 0.1668 | 0.2385 | 0.2293
1:4 | 0.1641 | 0.1713 | 0.1922 | 0.1948 | 0.1188 | 0.1198 | 0.1733 | 0.1654
1:8 | 0.1215 | 0.1222 | 0.136 | 0.1323 | 0.0897 | 0.0894 | 0.116 | 0.1104
1:16 | 0.0771 | 0.0862 | 0.09 | 0.0928 | 0.0747 | 0.0701 | 0.0806 | 0.0701
1:32 | 0.0621 | 0.0676 | 0.077 | 0.0735 | 0.0613 | 0.0652 | 0.0664 | 0.0645
1:64 | 0.0611 | 0.0635 | 0.0672 | 0.063 | 0.0609 | 0.0578 | 0.0602 | 0.06