## Tab.5
Table 5.
Inter-assay (between plates) variations for calibration curve concentrations.
Description:
The values in this file were presented as backcaluated cytokine concentrations.
[tab a] contains values for backcalculated IL-2 calibration curves
[tab b] contains values for backcalculated IL-6 calibration curves
[tab c] contains values for backcalculated IL-10 calibration curves
[tab d] contains values for backcalculated IL-12p40 calibration curves

## a
IL-2
IL-2 calibrator [pg/ml] | backcalculated cytokine concentration [pg/ml]
5000 | 5287.8835 | 5812.526 |  |  | 6740.915 | 4591.641 | 6886.809 | 6857.23 | 5676.3 | 4534.583 | 5152.966 | 6550.408 | 2271.982 | 1750.4695
2500 | 2397.5895 | 2210.58 | 1480.802 | 1238.546 | 2204.096 | 2709.781 | 2072.368 | 2251.289 | 2140.539 | 2737.552 | 2486.821 | 2183.608 | 3236.0085 | 1708.477
1250 | 1407.927 | 1241.246 | 1835.568 | 4287.821 | 1170.222 | 1235.236 | 1335.855 | 1155.761 | 1258.143 | 1212.655 | 1191.01 | 1079.554 | 1216.091 | 1120.432
625 | 596.1345 | 671.015 | 560.411 | 1046.145 | 659.915 | 613.249 | 626.778 | 675.214 | 693.837 | 628.881 | 652.739 | 794.403 | 651.459 | 594.438
312.5 | 324.0655 | 297.656 | 332.145 | 198.66 | 320.538 | 317.472 | 308.818 | 307.064 | 284.929 | 310.397 | 320.091 | 284.851 | 309.9935 | 300.642
156.25 | 153.268 | 157.214 | 150.129 | 200.762 | 146.571 | 156.583 | 154.638 | 153.745 | 165.913 | 158.864 | 142.746 | 138.913 | 155.4435 | 158.6755
78.125 | 79.1785 | 81.224 | 80.094 | 75.123 | 80.0805 | 77.2775 | 80.754 | 79.3485 | 75.0735 | 77.0865 | 86.7465 | 91.752 | 80.0205 | 81.237
39.0625 | 38.685 | 36.328 | 38.728 | 38.717 | 41.7175 | 39.042 | 38.804 | 39.193 | 39.629 | 39.3525 | 39.222 | 45.814 | 39.983 | 38.312
19.5312 | 19.658 | 20.507 | 19.511 | 19.89 | 19.65 | 19.616 | 18.98 | 19.95 | 20.385 | 19.441 | 19.483 | 15.2195 | 16.419 | 18.985
9.7656 | 9.7435 |  |  | 9.628 | 8.0935 | 9.8455 | 9.752 | 9.232 | 9.1275 | 9.858 | 9.402 | 14.159 | 7.8145 | 9.189

## b
IL-6
IL-6 calibrator [pg/ml] | backcalculated cytokine concentration [pg/ml]
5000 | 3971.117 | 4992.9335 | 4999.0395 | 5002.912 | 5003.352 | 5001.403 | 4992.795 | 5018.276 | 5013.87 | 4997.804 | 4994.43 | 5012.66 | 5010.638 | 4997.446 | 4920.429 | 5004.8595 | 5099.7
2500 | 3971.117 | 2522.6965 | 2509.013 | 2493.5635 | 2489.797 | 2496.541 | 2526.831 | 2426.176 | 2441.809 | 2505.354 | 2518.579 | 2479.805 | 2468.539 | 2531.9825 | 2549.2665 | 2498.7255 | 2454.015
1250 | 991.8175 | 1219.513 | 1224.399 | 1253.608 | 1265.421 | 1243.981 | 1211.17 | 1326.434 | 1315.041 | 1246.436 | 1216.708 | 1258.906 | 1300.77 | 1211.8665 | 1248.3025 | 1253.4255 | 1224.3855
625 | 637.4685 | 637.5095 | 660.5065 | 628.0445 | 613.574 | 645.048 | 636.52 | 638.905 | 633.89 | 617.265 | 652.539 | 635.29 | 580.831 | 631.7385 | 610.108 | 621.6005 | 652.2355
312.5 | 346.1535 | 314.4255 | 294.773 | 312.7865 | 312.39 | 309.501 | 324.17 | 300.523 | 293.081 | 323.74 | 318.811 | 290.713 | 321.053 | 327.0835 | 310.638 | 312.169 | 341.768
156.25 | 162.0585 | 167.632 | 158.738 | 149.7435 | 160.23 | 143.466 | 161.172 | 124.64 | 138.382 | 158.425 | 141.146 | 164.541 | 169.33 | 161.9385 | 160.669 | 156.774 | 170.5385
78.125 | 57.9895 | 71.419 | 70.337 | 78.911 | 79.081 | 76.2215 | 81.062 | 72.1685 | 75.0115 | 72.514 | 75.4405 | 95.0515 | 79.468 | 80.0035 | 85.0715 | 77.845 | 72.9845
39.0625 | 54.8125 | 38.6205 | 39.2955 | 38.374 | 39.648 | 37.9295 | 37.625 | 37.1265 | 39.586 | 42.5445 | 31.838 | 43.672 | 39.769 | 35.578 | 49.932 | 42.9395 | 36.3755
19.5312 | 17.182 | 20.129 | 20.285 | 22.015 | 19.101 | 20.837 | 16.027 | 24.5275 | 22.575 | 18.6545 | 18.3975 | 11.4325 | 18.374 | 18.361 | 18.985 | 19.794 | 9.64
9.7656 | 9.996 | 13.262 | 14.7155 | 10.6935 | 8.013 | 14.622 | 3.304 | 20.91 | 15.973 | 7.1955 | 22.1465 |  | 2.9275 | 2.8735 | 22.242 | 11.2265

## c
IL-10
IL-10 calibrator [pg/ml] | backcalculated cytokine concentration [pg/ml]
5000 | 4999.938 | 5010.1295 |  |  |  |  | 5082.278 | 5021.978 | 4998.374 | 5001.291 | 5014.694 | 4997.725 | 5000.083 | 5004.835 | 4998.235 | 4996.927 | 4999.445
2500 | 2499.6245 | 2458.474 | 2503.436 | 2503.529 | 2506.416 | 2499.096 | 2377.757 | 2428.104 | 2507.978 | 2494.352 | 2458.291 | 2506.605 | 2499.76 | 2472.111 | 2510.815 | 2512.226 | 2502.952
1250 | 1244.864 | 1244.027 | 1238.6695 | 1236.9355 | 1220.927 | 1254.252 | 1316.286 | 1280.609 | 1238.169 | 1253.294 | 1301.33 | 1242.093 | 1249.808 | 1299.969 | 1227.754 | 1238.198 | 1252.5535
625 | 630.1505 | 713.808 | 640.656 | 643.7585 | 644.403 | 625.307 | 622.524 | 679.87 | 624.797 | 636.325 | 600.308 | 621.889 | 629.519 | 604.504 | 634.742 | 613.318 | 614.5135
312.5 | 320.555 | 363.183 | 309.7695 | 306.7415 | 347.232 | 290.43 | 300.732 | 304.139 | 322.375 | 304.806 | 310.061 | 324.676 | 300.5 | 302.861 | 323.286 | 330.4825 | 309.1365
156.25 | 150.7285 | 172.2845 | 147.095 | 148.5725 | 155.494 | 174.959 | 156.954 | 155.844 | 155.822 | 149.518 | 152.232 | 154.367 | 152.017 | 148.528 | 156.865 | 162.3955 | 159.243
78.125 | 48.6605 | 78.1485 | 78.107 | 77.294 | 80.596 | 82.395 | 81.137 | 92.5335 | 76.1 | 76.7285 | 87.064 | 80.2925 | 112.5695 | 73.345 | 74.6065 | 79.0165 | 88.945
39.0625 |  |  | 42.765 | 43.526 | 17.192 | 57.605 | 40.805 | 29.5715 | 38.2275 | 38.65 | 40.4665 | 36.191 | 42.977 | 52.7675 | 45.0325 | 36.812 | 52.242
19.5312 | 305.564 |  | 19.176 | 18.1965 |  | 7.178 | 19.171 | 7.268 | 18.5005 | 22.6165 | 17.8625 | 14.6305 |  | 19.901 | 14.505 | 20.128 | 28.057
9.7656 |  |  | 11.161 | 12 | 54.573 |  | 8.536 |  | 10.265 | 11.985 | 9.2935 | 10.537 | 33.073 | 11.172 | 3.3125 | 4.989 | 14.468

## d
IL-12p40
IL-12p40 calibrator [pg/ml] | backcalculated cytokine concentration [pg/ml]
5000 | 3330.146 | 5155.881 | 6269.452 | 5009.441 | 5006.349 | 4997.631 | 2211.539 | 3334.567 | 3176.229 | 4430.239 | 4896.696 | 5032.47 | 4996.8105 | 5695.691
2500 | 3330.146 | 2350.279 | 1865.483 | 2490.201 | 2496.642 | 2502.536 |  | 3036.825 | 2915.381 | 2782.484 | 2540.545 | 2491.759 | 2550.679 | 2492.3985
1250 | 1173.291 | 1322.9625 | 1334.484 | 1258.15 | 1251.165 | 1246.649 | 1295.277 | 1201.208 | 1241.118 | 1143.458 | 1233.29 | 1265.121 | 1220.678 | 1257.11
625 | 632.349 | 630.1395 | 679.169 | 622.557 | 626.662 | 629.451 | 616.517 | 631.754 | 616.131 | 663.318 | 630.759 | 613.741 | 645.8945 | 620.466
312.5 | 322.9785 | 305.048 | 305.314 | 307.994 | 308.227 | 309.246 | 303.268 | 313.272 | 311.574 | 310.568 | 310.075 | 311.0615 | 317.257 | 317.0035
156.25 | 156.7445 | 153.2235 | 151.398 | 157.221 | 160.164 | 154.755 | 164.753 | 156.801 | 163.034 | 158.383 | 159.214 | 160.6995 | 143.2155 | 149.5455
78.125 | 72.5395 | 81.1785 | 78.915 | 84.1695 | 76.4195 | 81.047 | 82.975 | 80.648 | 84.7405 | 80.824 | 78.548 | 83.214 | 78.6755 | 82.9535
39.0625 | 36.8 | 42.0835 | 41.641 | 40.008 | 40.0615 | 40.437 | 38.547 | 41.35 | 40.347 | 40.0755 | 37.622 | 40.88 | 39.5155 | 40.131
19.5312 | 17.682 | 18.616 | 20.653 | 18.887 | 19.552 | 19.2965 | 17.75 | 18.011 | 16.1575 | 16.9945 | 19.1405 | 15.7725 | 21.5575 | 18.603
9.7656 | 10.276 | 7.1955 | 5.271 | 5.8685 | 9.1925 | 7.896 | 5.968 | 5.808 | 1.3815 | 4.993 | 9.814 | 6.6895 | 10.4355 | 8.7605