## Sheet1
Neeltje Jans
Oyster reef (bird island)
Validation stagnant water in pools
Jeroen van Dalen 2017-03-15
Sunsus ultra (Reefnet) placed at 2017-03-15 and taken out at 2017-03-17
Interval: 60 s, treshold: <1000 mbar, endcount: 1000
Sensors placed on bamboo, bottom is 5 cm above sediment
[5 empty] | Pressure reading | Waterlevel from bottom sensor | Waterlevel from bottom sensor | Waterlevel detected by sensor
| RD_Coordinates |  |  | Diver | at programming | at placement = low tide | at placement = low tide | at removal = low tide |  |  |  | Kalibration' afterwards (Friday 17-03-2017) in bucket on lab
Location | X | Y | Z | (#) | (mbar) | (cm) | (cm) +5 | (cm) | WSC | WSC in cm |  | Time | Waterlevel (cm)
Binnen1.1 | 39972.14 | 405533.13 | -0.573 | U-11441 | 1044 | 10.5 | 15.5 | 8.3817 | 0.032259 | 3.2259 | 12.2741 | 14.28 | 5
Binnen1.2 | 39971.632 | 405533.738 | -0.606 | U-14568 | 1028 | 10.5 | 15.5 | 6.9919 | 0.030654 | 3.0654 | 12.4346 | 14.38 | 10
Binnen2.1 | 39992.527 | 405525.242 | -0.744 | U-14547 | 1034 | 18 | 23 | 15.0029 | 0.056225 | 5.6225 | 17.3775 | 14.51 | 16.5
Binnen2.2 | 39992.971 | 405524.858 | -0.746 | U-14583 | 1031 | 18 | 23 | 16.2293 | 0.055586 | 5.5586 | 17.4414 | 15.07 | 20
Binnen3.1 | 39951.801 | 405496.691 | -0.529 | U-12953 | 1033 | 7.5 | 12.5 | 4.0965 | 0.024903 | 2.4903 | 10.0097
Binnen3.2 | 39952.066 | 405496.373 | -0.507 | U-14588 | 1029 | 4 | 9 | 0.67752 | 0.024037 | 2.4037 | 6.5963
Binnen4.1 | 39958.835 | 405494.156 | -0.657 | U-14631 | 1056 | 10 | 15 | 8.5975 | 0.034169 | 3.4169 | 11.5831
Binnen4.2 | 39960.008 | 405491.782 | -0.649 | U-14578 | 1043 | 7 | 12 | 3.7892 | 0.041949 | 4.1949 | 7.8051
Binnen5.1 | 39958.271 | 405516.061 | -0.534 | U-14621 | 1033 | 5.5 | 10.5 | 2.8264 | 0.051645 | 5.1645 | 5.3355
Binnen5.2 | 39958.07 | 405516.308 | -0.507 | U-11443 | 1044 | 6 | 11 | 3.0762 | 0.007697 | 0.7697 | 10.2303
Buiten1.1 | 39991.55 | 405569.891 | -0.656 | U-12945 | 1026 | 0.5 | 5.5 | 1.2702 | 0.035483 | 3.5483 | 1.9517
Buiten1.2 | 39992.233 | 405569.635 | -0.678 | U-14567 | 1036 | 1 | 6 | -1.3101 | 0.052028 | 5.2028 | 0.7972
Buiten2.1 | 40017.969 | 405535.199 | -0.93 | U-14556 | 1040 | 11.5 | 16.5 | 9.5484 | 0.012378 | 1.2378 | 15.2622
Buiten2.2 | 40018.203 | 405534.768 | -0.957 | U-12932 | 1036 | 11 | 16 | 7.8552 | 0.013951 | 1.3951 | 14.6049
Buiten3.1 | 39908.059 | 405496.752 | -0.423 | U-12939 | 1032 | 0 | 5 | -0.34707 | 0.011719 | 1.1719 | 3.8281
Buiten3.2 | 39908.391 | 405496.322 | -0.434 | U-14618 | 1046 | 0 | 5 | 3.5809 | 0.010308 | 1.0308 | 3.9692
Buiten4.1 | 40012.642 | 405550.808 | -0.854 | U-14586 | 1033 | 3 | 8 | 0.11868 | 0.007222 | 0.7222 | 7.2778
Buiten4.2 | 40012.352 | 405551.049 | -0.83 | U-11445 | 1045 | 2.5 | 7.5 | 2.6587 | 0.012821 | 1.2821 | 6.2179
Buiten5.1 | 40041.965 | 405597.236 | -0.697 | U-14634 | 1034 | 4.5 | 9.5 | 0.028626 | 0 | 0 | 9.5
Buiten5.2 | 40042.406 | 405596.113 | -0.693 | U-14662 | 1031 | 3 | 8 | 0.65255 | 0.017167 | 1.7167 | 6.2833
Buiten6.1 | 39893.819 | 405444.46 | -0.483 | U-14559 | 1037 | 0 | 5 | 2.2445 | 0.006333 | 0.6333 | 4.3667
Buiten6.2 | 39894.092 | 405444.202 | -0.495 | U-12946 | 1031 | 0 | 5 | -0.18362 | 0.001133 | 0.1133 | 4.8867
Buiten7.1 | 40057.44 | 405558.231 | -0.689 | U-11446 | 1050 | 0.5 | 5.5 | -0.08415 | -9999 | -999900 | 999905.5
Buiten7.2 | 40057.578 | 405557.899 | -0.711 | U-14658 | 1025 | 0.5 | 5.5 | 2.069 | -9999 | -999900 | 999905.5
Ref1 | 39959.442 | 405588.055 | 4.454 | U-13781 | 1037 | 0 | 5 | -0.17678 | -9999 | -999900 | 999905
Ref2 | 39959.284 | 405587.849 | 4.459 | U-14619 | 1029 | 0 | 5 | 0.17678 | -9999 | -999900 | 999905