## Case details
Problem description
As cities expand and land becomes built over, more rainwater will run off rather than infiltrate or evapo(trans)pirate, increasing the likelihood of rain-induced flooding. Climate change further exacerbates the frequency and intensity of rain events and hence the frequency and severity of rain-induced flooding in urban areas. Adaptive planning is essential to address urban flooding and ensure that urban areas are well adapted to climate change, involving cooperation between diverse stakeholders: municipality, citizens, water boards, housing corporations, and urban planners in the Netherlands.
Challenge
Welcome to FloodCity! The city centre has been experiencing frequent flooding in the past few years leading to damages and nuisance for the residents. The underground sewer infrastructure of the area is old and in need of an upgrade to withstand more intense rainshowers in the future. In the Urban dRain planning tournament, you are invited to collectively develop a rainwater management strategy for the neighbourhood in 2 rounds by using grey solutions, blue-green solutions or a combination of them. Good luck!
FloodZone Area details
Total case study area (m2) | 22500
Total number of houses | 175
Potential roof surface for green roofs (m2) | 4000
Potential roof surface for water roofs (m2) | 4350
Potential garden area per house
Street dimensions
Up | 260 | m
Down | 193 | m
Right | 120 | m
Left | 100 | m
Potential sunny roof area (m2) | 4000
Potential shade roof area (m2) | 4350
Paved area per house (m2) | 20
Number of rain barrels per house | 2
Total paved area available to be converted through SUDS | 3500
Available roof space (m2) | 9061
Number of houses | 175
Available outside space (m2) | 6274
Available wall space (m2) | 1568.5
Roof space per house (m2) | 51.7771
Garden area per house (m2) | 35.8514
Total BGIable area (m2) | 16903.5 |  | Area when all other SUDS are fully implemented except storage SUDS
Explanation of SUDs measures | % of area/houses | % of implementation
No measure | 0 | 0
Low | 25 | 5
Medium | 50 | 10
High | 75 | 15
20
25
30
Current year | 2024 | 35
SUDS maintenance frequency every | 1 | 40
45
50
Note on A29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Is this mutually exclusive?

## Round1Residents
Background info: Residents |  |  |  | Impacts
Future flood damage if nothing is done | 314.1921 | ( x 1000 euros) |  |  | Flood damage (x 1000 euros) | Investment costs (x 1000 euros) | O&M costs (x 1000 euros) | % of blue-green area added | Note: Size of blue-green area is acting as a surrogate indicator. More blue-green area results in more biodiversity, amenity value and overall quality of life.
[5 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Total budget available | 500 | ( x 1000 euros) |  | What is better | minimise | minimise | minimise | maximise
Contributed budget | 500 | ( x 1000 euros) |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | Total | 242.193 | 732.085 |  | 19.8965 | Note: If total cost turns red that means the budget available has been exceeded.
>> Choose your blue-green solution coverage << | [5 empty] | 678.2855 | 53.7996
ROOF |  |  |  | ROOF
| % of roof space | 9061 | Available roof space (m2)
Standard sedum roof | 25 | 2265.25 | Roof space covered with BGS (m2) | Standard sedum roof |  | 249.1775 | 45.305 | 13.4011
Intensive green roof | 0 |  | Note: the disconnected roof space cannot exceed total roof space available | Intensive green roof |  | 0 | 0 | 0
OUTSIDE SPACE |  |  |  | OUTSIDE SPACE
% of houses
1 Rainwater fence | 20 |  |  | Rainwater fences |  | 8.75 | 1.75 | 0
1 Rain barrel | 0 | 6274 | Available outside space (m2) | Rain barrels |  | 0 | 0 | 0
1 Rainwater storage tank | 0 | 1080.45 | Outside space covered with BGS (m2) | Rainwater storage tank |  | 0 | 0 | 0
| % of outside space |  | Note: the covered outside space cannot exceed total outside space available
Permeable pavement | 10 |  |  | Permeable pavement tiles |  | 43.918 | 4.3918 | 3.7117
Rain garden | 0 |  |  | Rain garden |  | 0 | 0 | 0
FACADES/WALLS |  | 1568.5 | Available facade space (m2) | FAÇADES
| % of facade space | 470.55 | Facade space covered with BGS (m2)
Green facades | 30 |  | Note: the disconnected facade space cannot exceed total facade space available | Green facades |  | 376.44 | 2.3527 | 2.7837
Vertical garden | 0 |  |  | Vertical garden |  | 0 | 0 | 0

## Round1Municipality
Background info: Municipality
Future flood damage if nothing is done |  | 314.1921 | ( x 1000 euros)
Total budget available |  | 1000 | ( x 1000 euros)
Contributed budget |  | 1000 | ( x 1000 euros)
Current monumental value |  | High
>> Choose your sewer system layout and pipe size <<
| Upstream pipe diameter (m) | Middle pipe diameter (m) | Downstream pipe diameter (m) | End pipe diameter (m)
New system (in public area) | 0.2 | 0.3 | 0.35 | 0.45
Upgraded existing system | 0.2 | 0.3 | 0.4 | 0.4 | Existing system (for reference)
| 0.2 | 0.3 | 0.4 | 0.4 | Upgraded system
Impacts
|  |  |  | Impact on residents |  |  |  | Total solution cost
| Investment costs (x1000 euros) | Operation & maintenance (x 1000 euros) | Total costs | Flood damage (x 1000 euros) | Additional cost for connecting houses to sewer system | Monumental value | Construction nuisance (indoors)
| #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
New system (in public area) | 323.4519 | 0 | 323.4519 | 603.738 | 450 | Low | High | 1377.1899
Upgraded existing system | 0 | 18.5211 | 18.5211 | 314.1921 | 50 | High | Low | 382.7131
Explanation of indicators
Monumental value |  |  |  | Construction nuisance indoors
Low: Significant changes to monumental houses including ripping the floors of the houses out |  |  |  | Low: Some changes and construction inside the house for putting blue-green solutions
High: No changes to the monumental houses |  |  |  | High: Ripping floors out to connect rainwater pipes from roof to the front towards the public street

## Round2Collective
Budget (x 1000 euros)
[5 empty] | Max. available budget |  | Contributed budget
|  |  | Residents |  | 500 |  | 500
|  |  | Municipality |  | 1000 |  | 1000
|  |  | Total |  | 1500 |  | 1500
>> Blue-green solutions + new sewer system << | [7 empty] | >> Blue-green solutions + upgraded current sewer layout <<
ROOF |  |  | Roof space | Outside space | Façade space |  |  | ROOF |  |  | Roof space | Outside space | Façade space
| % of roof space |  | 9061 | 6274 | 1568.5 | Available |  |  | % of roof space |  | 9061 | 6274 | 1568.5 | Available
Standard sedum roof | 25 |  | 2265.25 | 1080.45 | 2352.75 | Covered with BGS |  | Standard sedum roof | 25 |  | 2265.25 | 1080.45 | 470.55 | Covered with BGS
Intensive green roof | 0 | [6 empty] | Intensive green roof | 0
OUTSIDE SPACE | [7 empty] | OUTSIDE SPACE
| % of houses | [7 empty] | % of houses
1 Rainwater fence | 20 | [6 empty] | 1 Rainwater fence | 20 |  | Upstream pipe diameter (m) | Middle pipe diameter (m) | Downstream pipe diameter (m) | End pipe diameter (m)
1 Rain barrel | 0 |  | Upstream pipe diameter (m) | Middle pipe diameter (m) | Downstream pipe diameter (m) | End pipe diameter (m) |  | 1 Rain barrel | 0 | Existing system | 0.2 | 0.3 | 0.4 | 0.4
1 Rainwater storage tank | 0 |  | 0.2 | 0.3 | 0.35 | 0.45 |  | 1 Rainwater storage tank | 0 | Upgraded system | 0.2 | 0.3 | 0.4 | 0.4
| % of outside space | [7 empty] | % of outside space
Permeable pavement | 10 | [6 empty] | Permeable pavement | 10
Rain garden | 0 | [6 empty] | Rain garden | 0
FACADES | [7 empty] | FACADES
| % of facade space | [6 empty] | FACADES | % of facade space
Green facades | 30 | [6 empty] | Green facades | 30
Vertical garden | 0 | [6 empty] | Vertical garden | 0
Impacts Total | [7 empty] | Impacts Total
| Flood damage (x 1000 euros) | Investment costs (x 1000 euros) | Operation & maintenance costs (x 1000 euros) | % of blue-green area added | Monumental value | Construction nuisance (indoors) |  |  | Flood damage (x 1000 euros) | Investment costs (x 1000 euros) | Operation & maintenance costs (x 1000 euros) | % of blue-green area added | Monumental value | Construction nuisance (indoors)
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Total | 421.9825 | 1451.7374 | 52.2246 | 19.8965 | Medium | High |  | Total | 242.193 | 728.2855 | 70.7456 | 19.8965 | High | Low
| 1925.9444 | [7 empty] | 1041.2241
Total cost residents | 1602.4925 |  |  | (Flood damage costs, investment and maintenance cost of BGSs, and re-piping costs) |  |  |  | Total cost residents | 1022.7031 |  |  | (Flood damage costs, investment and maintenance cost of BGSs, and re-piping costs)
Total cost municipality | 323.4519 |  |  | (Sewer investment and maintenance costs) |  |  |  | Total cost municipality | 18.5211 |  |  | (Sewer investment and maintenance costs)
Impact blue-green solutions | [7 empty] | Impact blue-green solutions
|  | Investment costs (x 1000 euros) | Operation & maintenance costs (x 1000 euros) | % of blue-green area added (m2) | [5 empty] | Investment costs (x 1000 euros) | Operation & maintenance costs (x 1000 euros) | % of blue-green area added (m2)
Subtotal: |  | 678.2855 | 52.2246 | 19.8965 |  |  |  | Subtotal: |  | 678.2855 | 52.2246 | 19.8965
ROOF | [7 empty] | ROOF
Standard sedum roof |  | 249.1775 | 45.305 | 13.4011 |  |  |  | Standard sedum roof |  | 249.1775 | 45.305 | 13.4011
Intensive green roof |  | 0 | 0 | 0 |  |  |  | Intensive green roof |  | 0 | 0 | 0
HOUSEHOLD UNITS | [7 empty] | HOUSEHOLD UNITS
Rainwater fences |  | 8.75 | 0 | 0 |  |  |  | Rainwater fences |  | 8.75 | 0 | 0
Rain barrels |  | 0 | 0.175 | 0 |  |  |  | Rain barrels |  | 0 | 0.175 | 0
Rainwater storage tank |  | 0 | 0 | 0 |  |  |  | Rainwater storage tank |  | 0 | 0 | 0
OUTSIDE AREAS | [7 empty] | OUTSIDE AREAS
Permeable pavement tiles |  | 43.918 | 4.3918 | 3.7117 |  |  |  | Permeable pavement tiles |  | 43.918 | 4.3918 | 3.7117
Rain garden |  | 0 | 0 | 0 |  |  |  | Rain garden |  | 0 | 0 | 0
FAÇADES | [7 empty] | FAÇADES
Green facades |  | 376.44 | 2.3527 | 2.7837 |  |  |  | Green facades |  | 376.44 | 2.3527 | 2.7837
Vertical garden |  | 0 | 0 | 0 |  |  |  | Vertical garden |  | 0 | 0 | 0
Impact Sewers | [7 empty] | Impact Sewers
|  | Investment costs (x1000 euros) | Operation & maintenance (x 1000 euros) | Additional cost for connecting houses to sewer | Monumental value | Construction nuisance (indoors) |  |  |  | Investment costs (x1000 euros) | Operation & maintenance (x 1000 euros) | Additional cost for connecting houses to sewer | Monumental value | Construction nuisance (indoors)
Subtotal: |  | 323.4519 | 0 | 450 | Low | High |  | Subtotal: |  | 0 | 18.5211 | 50 | High | Low
>> Enter the cost distribution of the above solution << | [7 empty] | >> Enter the cost distribution of the above solution <<
|  | Total cost | % covered by municipality | Municipality cost | % covered by residents | Resident cost |  |  |  | Total cost | % covered by municipality | Municipality cost | % covered by residents | Resident cost
Blue-green solutions | [7 empty] | Blue-green solutions
Investment cost blue-green solutions |  | 678.2855 | 0 | 0 | 100 | 678.2855 |  | Investment cost blue-green solutions |  | 678.2855 | 0 | 0 | 100 | 678.2855
Maintenance cost blue-green solutions |  | 52.2246 | 0 | 0 | 100 | 52.2246 |  | Maintenance cost blue-green solutions |  | 52.2246 | 0 | 0 | 100 | 52.2246
Sewers | [7 empty] | Sewers
Flood damage |  | 421.9825 | 0 | 0 | 100 | 421.9825 |  | Flood damage |  | 242.193 | 0 | 0 | 100 | 242.193
Sewer investment cost |  | 323.4519 | 100 | 323.4519 | 0 | 0 |  | Sewer investment cost |  | 0 | 100 | 0 | 0 | 0
Sewer maintenance cost |  | 0 | 100 | 0 | 0 | 0 |  | Sewer maintenance cost |  | 18.5211 | 100 | 18.5211 | 0 | 0
Additional cost for connecting houses to sewer |  | 450 | 0 | 0 | 100 | 450 |  | Additional cost for connecting houses to sewer |  | 50 | 0 | 0 | 100 | 50
|  | 1925.9444 |  | 323.4519 |  | 1602.4925 |  |  |  | 1041.2241 |  | 18.5211 |  | 1022.7031

## BGI measures
Garden/frontyard/backyard
Rainwater fence
Description | Vertical rain barrel on a fence or a building wall
Maximum potential units | 175
Water storage capacity per unit | 444 | l/unit
Number of units per installation | 2 | pieces
Length | 1.5 | m
Breadth | 0.3 | m
Height | 2 | m
Ground area | 0.45 | m2
Price | 250 | €/piece
O&M cost | 50 | €/piece
Amenity contribution | No
Maintenance score | 3
Permeable pavement
Description | Converting impervious backyards into an impervious surface
Potential area | 1750 | m2
Water storage capacity per unit | 30 | l/m2
Price | 70 | €/m2
O&M cost | 7 | €/m2
Amenity contribution | Yes
Maintenance score | 3
Rain barrel
Description | Standard size rain barrel for rain collection and watering plants in the garden
Maximum potential units | 175
Number of units per installation | 1
Height | 1 | m
Diameter | 0.6 | m
Water storage capacity | 200 | l/piece
Price | 140 | €/piece
O&M cost | 5 | €/piece
Total potential storage | 35 | m3
Amenity contribution | No
Maintenance score | 2
Rain water storage tank
Description | A storage tank under the terrace or garden
Maximum potential units | 35
Water storage capacity per unit | 5000 | l/unit
Price | 2500 | €/piece
O&M cost per m3 | 8 | €/m3
O&M cost per unit | 1000 | €/piece
Total potential storage | 175 | m3
Total area (m2) | 5 | m2
Price per m2 | 500
Storage per m2 of area | 1000
Amenity contribution | No
Maintenance score | 4
Assumptions:
Maximum of one-fifth of total households can implement rainwater storage tank
Permeable pavements assuming half of the houses have paved backyards and average area of a backyard is 20m2
https://www.hornbach.nl/p/regenton-whisky-190-l/10153267/?wt_mc=nl.paid.sea.google.alwayson_assortment.gar.product.17430310680.138210625180.&gclid=CjwKCAjwgZCoBhBnEiwAz35Rwixb6uX_3l9tW6JR4ny2bRU2oKOoVtx3cdrT7A_sHlkEtGEwdRpiHRoC80IQAvD_BwE
https://enduramaxx.co.uk/enduramaxx/5000-litre-1100-gallon-underground-water-tank/
Rain garden
Description
Price per m2 | 150
O&M cost | 15
Storage per m2 (l) | 40
Amenity contribution | Yes
Maintenance score | 5
Roofs
Standard green roof/sedum roof
Description | Thin layer of sedum plants and raised edges
Maximum potential area | 4000 | m2
Water storage capacity | 30 | L/m2 | 150
Price | 110 | €/m2
O&M cost | 20 | €/m2
Total potential storage | 120 | m3
Amenity contribution | Yes
Maintenance score | 6
Intensive biodiverse roof
Description | More intensive roof, more plants, heavier
Water storage capacity | 45 | L/m2
Price | 155 | €/m2
O&M cost | 60 | €/m2
Amenity contribution | Yes
Maintenance score | 7
Walls
Green façade
Description | Plants are rooted in the soil on the ground and climb on a façade
Water storage capacity per unit | 40 | l/m2
Price per m2 | 800 | /m2
O&M cost per m2 | 5
Amenity contribution | Yes
Maintenance score | 5
https://scbrims.wordpress.com/wp-content/uploads/2013/10/111013-cost-benefit-analysis-for-green-facades-and-lws.pdf
https://www.scienceopen.com/document_file/96bf8cf8-feb3-40d5-b3d7-2de59583bbd6/API/i1943-4618-9-3-85.pdf
Vertical garden
Description | Sober design, only shade, 6m high (no ivy, which is cheaper)
Water storage capacity per unit | 25 | l/m2
Price per m2 | 500 | /m2
O&M cost per m2 | 10
Amenity contribution | Yes
Maintenance score | 7
https://scbrims.wordpress.com/wp-content/uploads/2013/10/111013-cost-benefit-analysis-for-green-facades-and-lws.pdf
https://www.scienceopen.com/document_file/96bf8cf8-feb3-40d5-b3d7-2de59583bbd6/API/i1943-4618-9-3-85.pdf
Open water roof
Description | Higher raised edges to keep water on the roof
Maximum potential area | 4350 | m2
Water storage capacity | 15 | l/m2 | 75
Price per m2 | 12 | €/m2
Capital cost per unit | 60 | €/m2 | #REF!
O&M cost |  | €/m2
Total potential storage | 65.25 | m3
Max. potential green area | 0 | m2
Max potential blue area | 4350 | m2 | 870
Note on B18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: How to take into account the water storage capacity of a permeable pavement?
Note on B19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Check number

## SewerParameters
Naam | Totaalvolume (m3) | Totaalvolume (mm) | [5 empty] | Tijdstap (h)
|  |  | BGI volume implemented Round 1 (mm) | Correction factor | Concentration time [hr] | Peak (at 5 hr) | van | 0 | 0.083333 | 0.16667 | 0.25 | 0.33333 | 0.41667 | 0.5 | 0.58333 | 0.66667 | 0.75 | 0.83333 | 0.91667 | 1 | 1.0833 | 1.1667 | 1.25 | 1.3333 | 1.4167 | 1.5 | 1.5833 | 1.6667 | 1.75 | 1.8333 | 1.9167 | 2 | 2.0833 | 2.1667 | 2.25 | 2.3333 | 2.4167 | 2.5 | 2.5833 | 2.6667 | 2.75 | 2.8333 | 2.9167 | 3 | 3.0833 | 3.1667 | 3.25 | 3.3333 | 3.4167 | 3.5 | 3.5833 | 3.6667 | 3.75 | 3.8333 | 3.9167 | 4 | 4.0833 | 4.1667 | 4.25 | 4.3333 | 4.4167 | 4.5 | 4.5833 | 4.6667 | 4.75 | 4.8333 | 4.9167 | 5 | 5.0833 | 5.1667 | 5.25 | 5.3333 | 5.4167 | 5.5 | 5.5833 | 5.6667 | 5.75 | 5.8333 | 5.9167 | 6 | 6.0833 | 6.1667 | 6.25 | 6.3333 | 6.4167 | 6.5 | 6.5833 | 6.6667 | 6.75 | 6.8333 | 6.9167 | 7 | 7.0833 | 7.1667 | 7.25 | 7.3333 | 7.4167 | 7.5 | 7.5833 | 7.6667 | 7.75 | 7.8333 | 7.9167 | 8 | 8.0833 | 8.1667 | 8.25 | 8.3333 | 8.4167 | 8.5 | 8.5833 | 8.6667 | 8.75 | 8.8333 | 8.9167 | 9 | 9.0833 | 9.1667 | 9.25 | 9.3333 | 9.4167 | 9.5 | 9.5833 | 9.6667 | 9.75 | 9.8333 | 9.9167
[7 empty] | tot | 0.083333 | 0.16667 | 0.25 | 0.33333 | 0.41667 | 0.5 | 0.58333 | 0.66667 | 0.75 | 0.83333 | 0.91667 | 1 | 1.0833 | 1.1667 | 1.25 | 1.3333 | 1.4167 | 1.5 | 1.5833 | 1.6667 | 1.75 | 1.8333 | 1.9167 | 2 | 2.0833 | 2.1667 | 2.25 | 2.3333 | 2.4167 | 2.5 | 2.5833 | 2.6667 | 2.75 | 2.8333 | 2.9167 | 3 | 3.0833 | 3.1667 | 3.25 | 3.3333 | 3.4167 | 3.5 | 3.5833 | 3.6667 | 3.75 | 3.8333 | 3.9167 | 4 | 4.0833 | 4.1667 | 4.25 | 4.3333 | 4.4167 | 4.5 | 4.5833 | 4.6667 | 4.75 | 4.8333 | 4.9167 | 5 | 5.0833 | 5.1667 | 5.25 | 5.3333 | 5.4167 | 5.5 | 5.5833 | 5.6667 | 5.75 | 5.8333 | 5.9167 | 6 | 6.0833 | 6.1667 | 6.25 | 6.3333 | 6.4167 | 6.5 | 6.5833 | 6.6667 | 6.75 | 6.8333 | 6.9167 | 7 | 7.0833 | 7.1667 | 7.25 | 7.3333 | 7.4167 | 7.5 | 7.5833 | 7.6667 | 7.75 | 7.8333 | 7.9167 | 8 | 8.0833 | 8.1667 | 8.25 | 8.3333 | 8.4167 | 8.5 | 8.5833 | 8.6667 | 8.75 | 8.8333 | 8.9167 | 9 | 9.0833 | 9.1667 | 9.25 | 9.3333 | 9.4167 | 9.5 | 9.5833 | 9.6667 | 9.75 | 9.8333 | 9.9167 | 10
Bui 07 | 445.5 | 19.8 |  |  | 0.083 | 39.6 |  | 7.2 | 14.4 | 25.2 | 39.6 | 39.6 | 32.4 | 25.2 | 18 | 14.4 | 10.8 | 7.2 | 3.6
Hydrogram C_2_2030_H | 885.6515 | 39.3623 |  |  | 0.083 | 78.9041 |  | 0.99998 | 1.0162 | 1.0329 | 1.05 | 1.0677 | 1.0858 | 1.1045 | 1.1237 | 1.1435 | 1.164 | 1.1851 | 1.2068 | 1.2293 | 1.2525 | 1.2766 | 1.3014 | 1.3272 | 1.3538 | 1.3815 | 1.4102 | 1.44 | 1.4711 | 1.5033 | 1.5369 | 1.572 | 1.6086 | 1.6468 | 1.6868 | 1.7287 | 1.7727 | 1.8189 | 1.8676 | 1.9188 | 1.973 | 2.0303 | 2.0911 | 2.1558 | 2.2247 | 2.2983 | 2.3772 | 2.4621 | 2.5539 | 2.6533 | 2.7617 | 2.8805 | 3.0115 | 3.157 | 3.3201 | 3.5048 | 3.7165 | 3.9632 | 4.2563 | 4.6138 | 5.0655 | 5.6654 | 6.5227 | 7.8981 | 10.5839 | 18.2436 | 78.9041 | 78.9041 | 18.2436 | 10.5839 | 7.8981 | 6.5227 | 5.6654 | 5.0655 | 4.6138 | 4.2563 | 3.9632 | 3.7165 | 3.5048 | 3.3201 | 3.157 | 3.0115 | 2.8805 | 2.7617 | 2.6533 | 2.5539 | 2.4621 | 2.3772 | 2.2983 | 2.2247 | 2.1558 | 2.0911 | 2.0303 | 1.973 | 1.9188 | 1.8676 | 1.8189 | 1.7727 | 1.7287 | 1.6868 | 1.6468 | 1.6086 | 1.572 | 1.5369 | 1.5033 | 1.4711 | 1.44 | 1.4102 | 1.3815 | 1.3538 | 1.3272 | 1.3014 | 1.2766 | 1.2525 | 1.2293 | 1.2068 | 1.1851 | 1.164 | 1.1435 | 1.1237 | 1.1045 | 1.0858 | 1.0677 | 1.05 | 1.0329 | 1.0162 | 0.99998
Choices:
Worst case scenario is considered - we choose the "high" scenario for testing the design
The base rainfall for calculation of the pipe dimensions is taken as the bui 07
For the rainfall intensity calculations, the peak is used
Sub-catchment (going clockwise) | Area (ha) | % public paving | %lawns | %Parks + gardens | %Roofs | %Residential | Runoff coefficient base value | Area paving (m2) | Area lawns (m2) | Area Parks + gardens (m2) | Area roofs (m2) | Area outside space (m2) | Area wall space | Original sum Ci x Ai
S1 | 0.186 | 20 | 5 | 10 | 20 | 45 | 0.5875 | 372 | 93 | 186 | 372 | 669.6 | 167.4 | 0.10927 | S1
S2 | 0.242 | 10 | 15 | 15 | 25 | 35 | 0.52625 | 242 | 363 | 363 | 605 | 677.6 | 169.4 | 0.12735 | S2
S3 | 0.255 | 10 | 10 | 5 | 40 | 35 | 0.62625 | 255 | 255 | 127.5 | 1020 | 714 | 178.5 | 0.15969 | S3
S4 | 0.25 | 15 | 15 | 10 | 25 | 35 | 0.55875 | 375 | 375 | 250 | 625 | 700 | 175 | 0.13969 | S4
S5 | 0.17 | 15 | 10 | 5 | 40 | 25 | 0.6175 | 255 | 170 | 85 | 680 | 340 | 85 | 0.10497 | S5
S6 | 0.14 | 20 | 0 | 0 | 40 | 40 | 0.705 | 280 | 0 | 0 | 560 | 448 | 112 | 0.0987 | S6
S7 | 0.14 | 10 | 5 | 0 | 60 | 25 | 0.7275 | 140 | 70 | 0 | 840 | 280 | 70 | 0.10185 | S7
S8 | 0.231 | 10 | 0 | 0 | 50 | 40 | 0.7075 | 231 | 0 | 0 | 1155 | 739.2 | 184.8 | 0.16343 | S8
S9 | 0.248 | 15 | 5 | 5 | 40 | 30 | 0.6325 | 372 | 124 | 124 | 992 | 595.2 | 148.8 | 0.15686 | S9
S10 | 0.244 | 10 | 5 | 5 | 40 | 40 | 0.64125 | 244 | 122 | 122 | 976 | 780.8 | 195.2 | 0.15647 | S10
S11 | 0.206 | 10 | 5 | 5 | 60 | 20 | 0.71125 | 206 | 103 | 103 | 1236 | 329.6 | 82.4 | 0.14652 | S11
Total area | 2.312 | [5 empty] | 0.64011 | 2972 | 1675 | 1360.5 | 9061 | 6274 | 1568.5 | 0.13316
7842.5
C values for Round 1
Sub-catchment | Area (ha) | Area public paving | Area lawns (m2) | Area Parks + gardens (m2) | Area roofs (m2) | Area residential (m2) | Area standard green roofs (m2) | Area intensive green roofs (m2) | Area rainwater fences (m2) | Area rain barrels (m2) | Area storage tanks (m2) | Area permeable pavement (m2) | Area rain garden (m2) | Area green façade (m2) | Area vertical garden (m2) | New sum Ci x Ai (ha)
S1 | 0.186 | 372 | 93 | 186 | 279 | 671.4677 | 93 | 0 | 48.3523 | 0 | 0 | 66.96 | 0 | 50.22 | 0 | 0.10415 | S1
S2 | 0.242 | 242 | 363 | 363 | 453.75 | 679.49 | 151.25 | 0 | 48.93 | 0 | 0 | 67.76 | 0 | 50.82 | 0 | 0.11988 | S2
S3 | 0.255 | 255 | 255 | 127.5 | 765 | 715.9916 | 255 | 0 | 51.5584 | 0 | 0 | 71.4 | 0 | 53.55 | 0 | 0.148 | S3
S4 | 0.25 | 375 | 375 | 250 | 468.75 | 701.9525 | 156.25 | 0 | 50.5475 | 0 | 0 | 70 | 0 | 52.5 | 0 | 0.13197 | S4
S5 | 0.17 | 255 | 170 | 85 | 510 | 340.9484 | 170 | 0 | 24.5516 | 0 | 0 | 34 | 0 | 25.5 | 0 | 0.097462 | S5
S6 | 0.14 | 280 | 0 | 0 | 420 | 449.2496 | 140 | 0 | 32.3504 | 0 | 0 | 44.8 | 0 | 33.6 | 0 | 0.09216 | S6
S7 | 0.14 | 140 | 70 | 0 | 630 | 280.781 | 210 | 0 | 20.219 | 0 | 0 | 28 | 0 | 21 | 0 | 0.092863 | S7
S8 | 0.231 | 231 | 0 | 0 | 866.25 | 741.2618 | 288.75 | 0 | 53.3782 | 0 | 0 | 73.92 | 0 | 55.44 | 0 | 0.15033 | S8
S9 | 0.248 | 372 | 124 | 124 | 744 | 596.8602 | 248 | 0 | 42.9798 | 0 | 0 | 59.52 | 0 | 44.64 | 0 | 0.14569 | S9
S10 | 0.244 | 244 | 122 | 122 | 732 | 782.9779 | 244 | 0 | 56.3821 | 0 | 0 | 78.08 | 0 | 58.56 | 0 | 0.14507 | S10
S11 | 0.206 | 206 | 103 | 103 | 927 | 330.5193 | 309 | 0 | 23.8007 | 0 | 0 | 32.96 | 0 | 24.72 | 0 | 0.13347 | S11
Total area | 2.312 |  |  |  | 6795.75 | 6291.5 | 2265.25 | 0 | 453.05 | 0 | 0 | 627.4 | 0 | 470.55 | 0
[7 empty] | 9061 |  | 1080.45 |  |  |  |  | 470.55
1551
7842.5
C values for Round 2 (public layout plus SUDS)
Sub-catchment | Area (ha) | Area public paving | Area lawns (m2) | Area Parks + gardens (m2) | Area roofs (m2) | Area residential (m2) | Area standard green roofs (m2) | Area intensive green roofs (m2) | Area rainwater fences (m2) | Area rain barrels (m2) | Area storage tanks (m2) | Area permeable pavement (m2) | Area rain garden (m2) | Area green façade (m2) | Area vertical garden (m2) | New sum Ci x Ai (ha)
S1 | 0.186 | 372 | 93 | 186 | 279 | 671.4677 | 93 | 0 | 48.3523 | 0 | 0 | 66.96 | 0 | 50.22 | 0 | 0.10415 | S1
S2 | 0.242 | 242 | 363 | 363 | 453.75 | 679.49 | 151.25 | 0 | 48.93 | 0 | 0 | 67.76 | 0 | 50.82 | 0 | 0.11988 | S2
S3 | 0.255 | 255 | 255 | 127.5 | 765 | 715.9916 | 255 | 0 | 51.5584 | 0 | 0 | 71.4 | 0 | 53.55 | 0 | 0.148 | S3
S4 | 0.25 | 375 | 375 | 250 | 468.75 | 701.9525 | 156.25 | 0 | 50.5475 | 0 | 0 | 70 | 0 | 52.5 | 0 | 0.13197 | S4
S5 | 0.17 | 255 | 170 | 85 | 510 | 340.9484 | 170 | 0 | 24.5516 | 0 | 0 | 34 | 0 | 25.5 | 0 | 0.097462 | S5
S6 | 0.14 | 280 | 0 | 0 | 420 | 449.2496 | 140 | 0 | 32.3504 | 0 | 0 | 44.8 | 0 | 33.6 | 0 | 0.09216 | S6
S7 | 0.14 | 140 | 70 | 0 | 630 | 280.781 | 210 | 0 | 20.219 | 0 | 0 | 28 | 0 | 21 | 0 | 0.092863 | S7
S8 | 0.231 | 231 | 0 | 0 | 866.25 | 741.2618 | 288.75 | 0 | 53.3782 | 0 | 0 | 73.92 | 0 | 55.44 | 0 | 0.15033 | S8
S9 | 0.248 | 372 | 124 | 124 | 744 | 596.8602 | 248 | 0 | 42.9798 | 0 | 0 | 59.52 | 0 | 44.64 | 0 | 0.14569 | S9
S10 | 0.244 | 244 | 122 | 122 | 732 | 782.9779 | 244 | 0 | 56.3821 | 0 | 0 | 78.08 | 0 | 58.56 | 0 | 0.14507 | S10
S11 | 0.206 | 206 | 103 | 103 | 927 | 330.5193 | 309 | 0 | 23.8007 | 0 | 0 | 32.96 | 0 | 24.72 | 0 | 0.13347 | S11
Total area | 2.312 |  |  |  | 6795.75 | 6291.5 | 2265.25 | 0 | 453.05 | 0 | 0 | 627.4 | 0 | 470.55 | 0
[7 empty] | 9061 |  | 1080.45 |  |  |  |  | 470.55
1551
7842.5
C values for Round 2 (backalley layout plus SUDS)
Sub-catchment | Area (ha) | Area public paving | Area lawns (m2) | Area Parks + gardens (m2) | Area roofs (m2) | Area residential (m2) | Area standard green roofs (m2) | Area intensive green roofs (m2) | Area rainwater fences (m2) | Area rain barrels (m2) | Area storage tanks (m2) | Area permeable pavement (m2) | Area rain garden (m2) | Area green façade (m2) | Area vertical garden (m2) | New sum Ci x Ai (ha)
S1 | 0.186 | 372 | 93 | 186 | 279 | 671.4677 | 93 | 0 | 48.3523 | 0 | 0 | 66.96 | 0 | 50.22 | 0 | 0.10415 | S1
S2 | 0.242 | 242 | 363 | 363 | 453.75 | 679.49 | 151.25 | 0 | 48.93 | 0 | 0 | 67.76 | 0 | 50.82 | 0 | 0.11988 | S2
S3 | 0.255 | 255 | 255 | 127.5 | 765 | 715.9916 | 255 | 0 | 51.5584 | 0 | 0 | 71.4 | 0 | 53.55 | 0 | 0.148 | S3
S4 | 0.25 | 375 | 375 | 250 | 468.75 | 701.9525 | 156.25 | 0 | 50.5475 | 0 | 0 | 70 | 0 | 52.5 | 0 | 0.13197 | S4
S5 | 0.17 | 255 | 170 | 85 | 510 | 340.9484 | 170 | 0 | 24.5516 | 0 | 0 | 34 | 0 | 25.5 | 0 | 0.097462 | S5
S6 | 0.14 | 280 | 0 | 0 | 420 | 449.2496 | 140 | 0 | 32.3504 | 0 | 0 | 44.8 | 0 | 33.6 | 0 | 0.09216 | S6
S7 | 0.14 | 140 | 70 | 0 | 630 | 280.781 | 210 | 0 | 20.219 | 0 | 0 | 28 | 0 | 21 | 0 | 0.092863 | S7
S8 | 0.231 | 231 | 0 | 0 | 866.25 | 741.2618 | 288.75 | 0 | 53.3782 | 0 | 0 | 73.92 | 0 | 55.44 | 0 | 0.15033 | S8
S9 | 0.248 | 372 | 124 | 124 | 744 | 596.8602 | 248 | 0 | 42.9798 | 0 | 0 | 59.52 | 0 | 44.64 | 0 | 0.14569 | S9
S10 | 0.244 | 244 | 122 | 122 | 732 | 782.9779 | 244 | 0 | 56.3821 | 0 | 0 | 78.08 | 0 | 58.56 | 0 | 0.14507 | S10
S11 | 0.206 | 206 | 103 | 103 | 927 | 330.5193 | 309 | 0 | 23.8007 | 0 | 0 | 32.96 | 0 | 24.72 | 0 | 0.13347 | S11
Total area | 2.312 |  |  |  | 6795.75 | 6291.5 | 2265.25 | 0 | 453.05 | 0 | 0 | 627.4 | 0 | 470.55 | 0
[7 empty] | 9061 |  | 1080.45 |  |  |  |  | 470.55
1551
7842.5
1 roof area (m2) |  | 51.7771
1 garden area (m2) |  | 35.8514
Number of subcatchments |  | 11
Area description |  | Range | Selected value | Area connected/drained
C Asphalt and concrete paving |  | 0.70-0.95 | 0.825
C lawns |  | 0.05-0.35 | 0.2
C Parks and gardens |  | 0.05-0.30 | 0.175
C Roofs |  | 0.75-0.95 | 0.85
C Residential |  | 0.30-0.70 | 0.5
C standard sedum roof |  |  | 0.45
C intensive green roof |  |  | 0.25
C rainwater fences |  |  | 0.4 | 0.25 roof
C rain barrels |  |  | 0.4 | 0.25 roof
C rainwater storage tank |  |  | 0.3 | 1 garden and 1 roof
C permeable pavement |  |  | 0.4
C rain garden |  |  | 0.35
C green facades |  |  | 0.45
C vertical garden |  |  | 0.4
C = coefficient between 0 and 1 (0 = 100% pervious, 1 = 100% impervious).
Selection of C: typical average values used for different infrastructures
Elevation levels: https://www.ahn.nl/ahn-viewer
Pipe clearance under road (m) |  | 1
Full flow velocity [m/s] |  | 1.5
kPVC |  | 0.045
kConcrete |  | 0.75
Future water level in receving body (m) |  | -0.95
Costs per m sewer (euros) |  | 620
Kostenonderdeel |  | Rond 300 mm (in euro per meter) | Rond 700 mm (in euro per meter)
Leiding |  | 55 | 221
Grondwerk |  | 62 | 140
Verharding |  | 174 | 247
Diversen |  | 36 | 56
Kostenkengetal excl. toeslagen |  | 330 | 660
Toeslagen |  | 136 | 277
Kostenkengetal incl. toeslagen |  | 470 | 940
https://www.riool.net/vrijvervalriool-vervanging
Annual maintenance cost of the pipes
Azzahra's thesis
Starting point maintenance frequency |  | Frequency
Pipe inspection | 1x per 14 jaar | 14
Sewer manhole inspection | 1x per 30 jaar | 30
Pipe cleaning | 1x per 7 jaar gemengd/DWA - 1x per 14 jaar HWA | 14
Kostenkengetal per object
Pipe inspection costs | 2 | euros per m1
Pipe inspection manhole | 27 | euros per manhole
Pipe cleaning costs | 3 | euros per m
Layout public | Monumental value | Level of nuisance from construction work inside the house | Level of nuisance from construction work outside the house | Additional re-piping costs to connect to the new sewer (thousand euros)
| Low | High | Medium | 450
Layout back alley
| High | Low | Low | 50
Note on C27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Area paving, parks and gardens, remain unchanged as we don't implement any public SUDS. So do existing lawns
Note on C44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Area paving, parks and gardens, remain unchanged as we don't implement any public SUDS. So do existing lawns
Note on C62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Area paving, parks and gardens, remain unchanged as we don't implement any public SUDS. So do existing lawns
Note on C107: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to confirm this with the water board

## FloodDamageParameters
Return period for 2030 rainfall |  |  |  |  | 2 | Assumptions: 2030 rainfall is assumed to be now; so considered as 2024 instead
Planning untill (year) |  |  |  |  | 2050
Current year |  |  |  |  | 2024
Pipe length (m) |  |  |  |  | 679
Maintanence frequency untill 2050 |  |  |  |  | 2
Factor for scaling costs for laying sewers in back alley |  |  |  |  | 2
|  | Flooding depth (cms) | Flooding depth (m) | Residential building damage (euros)
|  | 0 | 0 | 0
|  | 1 | 0.01 | 4.5
|  | 2 | 0.02 | 9
|  | 3 | 0.03 | 13.5
|  | 4 | 0.04 | 18
|  | 5 | 0.05 | 22.5
Slope | 4.5 | 6 | 0.06 | 27
|  | 7 | 0.07 | 31.5
|  | 8 | 0.08 | 36
|  | 9 | 0.09 | 40.5
|  | 10 | 0.1 | 45
|  | 11 | 0.11 | 49.5
|  | 12 | 0.12 | 54
|  | 13 | 0.13 | 58.5
|  | 14 | 0.14 | 63
|  | 15 | 0.15 | 67.5
|  | 16 | 0.16 | 72
|  | 17 | 0.17 | 76.5
|  | 18 | 0.18 | 81
|  | 19 | 0.19 | 85.5
|  | 20 | 0.2 | 90
|  | 21 | 0.21 | 94.5
|  | 22 | 0.22 | 99
|  | 23 | 0.23 | 103.5
|  | 24 | 0.24 | 108
|  | 25 | 0.25 | 112.5
|  | 26 | 0.26 | 117
|  | 27 | 0.27 | 121.5
|  | 28 | 0.28 | 126
|  | 29 | 0.29 | 130.5
|  | 30 | 0.3 | 135
|  | 31 | 0.31 | 139.5
|  | 32 | 0.32 | 144
|  | 33 | 0.33 | 148.5
|  | 34 | 0.34 | 153
|  | 35 | 0.35 | 157.5
|  | 36 | 0.36 | 162
|  | 37 | 0.37 | 166.5
|  | 38 | 0.38 | 171
|  | 39 | 0.39 | 175.5
|  | 40 | 0.4 | 180
|  | 41 | 0.41 | 184.5
|  | 42 | 0.42 | 189
|  | 43 | 0.43 | 193.5
|  | 44 | 0.44 | 198
|  | 45 | 0.45 | 202.5
|  | 46 | 0.46 | 207
|  | 47 | 0.47 | 211.5
|  | 48 | 0.48 | 216
|  | 49 | 0.49 | 220.5
|  | 50 | 0.5 | 225
|  | 51 | 0.51 | 229.5
|  | 52 | 0.52 | 234
|  | 53 | 0.53 | 238.5
|  | 54 | 0.54 | 243
|  | 55 | 0.55 | 247.5
|  | 56 | 0.56 | 252
|  | 57 | 0.57 | 256.5
|  | 58 | 0.58 | 261
|  | 59 | 0.59 | 265.5
|  | 60 | 0.6 | 270
|  | 61 | 0.61 | 274.5
|  | 62 | 0.62 | 279
|  | 63 | 0.63 | 283.5
|  | 64 | 0.64 | 288
|  | 65 | 0.65 | 292.5
|  | 66 | 0.66 | 297
|  | 67 | 0.67 | 301.5
|  | 68 | 0.68 | 306
|  | 69 | 0.69 | 310.5
|  | 70 | 0.7 | 315
|  | 71 | 0.71 | 319.5
|  | 72 | 0.72 | 324
|  | 73 | 0.73 | 328.5
|  | 74 | 0.74 | 333
|  | 75 | 0.75 | 337.5
|  | 76 | 0.76 | 342
|  | 77 | 0.77 | 346.5
|  | 78 | 0.78 | 351
|  | 79 | 0.79 | 355.5
|  | 80 | 0.8 | 360
|  | 81 | 0.81 | 364.5
|  | 82 | 0.82 | 369
|  | 83 | 0.83 | 373.5
|  | 84 | 0.84 | 378
|  | 85 | 0.85 | 382.5
|  | 86 | 0.86 | 387
|  | 87 | 0.87 | 391.5
|  | 88 | 0.88 | 396
|  | 89 | 0.89 | 400.5
|  | 90 | 0.9 | 405
|  | 91 | 0.91 | 409.5
|  | 92 | 0.92 | 414
|  | 93 | 0.93 | 418.5
|  | 94 | 0.94 | 423
|  | 95 | 0.95 | 427.5
|  | 96 | 0.96 | 432
|  | 97 | 0.97 | 436.5
|  | 98 | 0.98 | 441
|  | 99 | 0.99 | 445.5
|  | 100 | 1 | 450
|  | 101 | 1.01 | 454.5
|  | 102 | 1.02 | 459
|  | 103 | 1.03 | 463.5
|  | 104 | 1.04 | 468
|  | 105 | 1.05 | 472.5
|  | 106 | 1.06 | 477
|  | 107 | 1.07 | 481.5
|  | 108 | 1.08 | 486
|  | 109 | 1.09 | 490.5
|  | 110 | 1.1 | 495
|  | 111 | 1.11 | 499.5
|  | 112 | 1.12 | 504
|  | 113 | 1.13 | 508.5
|  | 114 | 1.14 | 513
|  | 115 | 1.15 | 517.5
|  | 116 | 1.16 | 522
|  | 117 | 1.17 | 526.5
|  | 118 | 1.18 | 531
|  | 119 | 1.19 | 535.5
|  | 120 | 1.2 | 540
|  | 121 | 1.21 | 544.5
|  | 122 | 1.22 | 549
|  | 123 | 1.23 | 553.5
|  | 124 | 1.24 | 558
|  | 125 | 1.25 | 562.5
|  | 126 | 1.26 | 567
|  | 127 | 1.27 | 571.5
|  | 128 | 1.28 | 576
|  | 129 | 1.29 | 580.5
|  | 130 | 1.3 | 585
|  | 131 | 1.31 | 589.5
|  | 132 | 1.32 | 594
|  | 133 | 1.33 | 598.5
|  | 134 | 1.34 | 603
|  | 135 | 1.35 | 607.5
|  | 136 | 1.36 | 612
|  | 137 | 1.37 | 616.5
|  | 138 | 1.38 | 621
|  | 139 | 1.39 | 625.5
|  | 140 | 1.4 | 630
|  | 141 | 1.41 | 634.5
|  | 142 | 1.42 | 639
|  | 143 | 1.43 | 643.5
|  | 144 | 1.44 | 648
|  | 145 | 1.45 | 652.5
|  | 146 | 1.46 | 657
|  | 147 | 1.47 | 661.5
|  | 148 | 1.48 | 666
|  | 149 | 1.49 | 670.5
|  | 150 | 1.5 | 675
|  | 151 | 1.51 | 679.5
|  | 152 | 1.52 | 684
|  | 153 | 1.53 | 688.5
|  | 154 | 1.54 | 693
|  | 155 | 1.55 | 697.5
|  | 156 | 1.56 | 702
|  | 157 | 1.57 | 706.5
|  | 158 | 1.58 | 711
|  | 159 | 1.59 | 715.5
|  | 160 | 1.6 | 720
|  | 161 | 1.61 | 724.5
|  | 162 | 1.62 | 729
|  | 163 | 1.63 | 733.5
|  | 164 | 1.64 | 738
|  | 165 | 1.65 | 742.5
|  | 166 | 1.66 | 747
|  | 167 | 1.67 | 751.5
|  | 168 | 1.68 | 756
|  | 169 | 1.69 | 760.5
|  | 170 | 1.7 | 765
|  | 171 | 1.71 | 769.5
|  | 172 | 1.72 | 774
|  | 173 | 1.73 | 778.5
|  | 174 | 1.74 | 783
|  | 175 | 1.75 | 787.5
|  | 176 | 1.76 | 792
|  | 177 | 1.77 | 796.5
|  | 178 | 1.78 | 801
|  | 179 | 1.79 | 805.5
|  | 180 | 1.8 | 810
|  | 181 | 1.81 | 814.5
|  | 182 | 1.82 | 819
|  | 183 | 1.83 | 823.5
|  | 184 | 1.84 | 828
|  | 185 | 1.85 | 832.5
|  | 186 | 1.86 | 837
|  | 187 | 1.87 | 841.5
|  | 188 | 1.88 | 846
|  | 189 | 1.89 | 850.5
|  | 190 | 1.9 | 855
|  | 191 | 1.91 | 859.5
|  | 192 | 1.92 | 864
|  | 193 | 1.93 | 868.5
|  | 194 | 1.94 | 873
|  | 195 | 1.95 | 877.5
|  | 196 | 1.96 | 882
|  | 197 | 1.97 | 886.5
|  | 198 | 1.98 | 891
|  | 199 | 1.99 | 895.5
|  | 200 | 2 | 900
|  | 201 | 2.01 | 904.5
|  | 202 | 2.02 | 909
|  | 203 | 2.03 | 913.5
|  | 204 | 2.04 | 918
|  | 205 | 2.05 | 922.5
|  | 206 | 2.06 | 927
|  | 207 | 2.07 | 931.5
|  | 208 | 2.08 | 936
|  | 209 | 2.09 | 940.5
|  | 210 | 2.1 | 945
|  | 211 | 2.11 | 949.5
|  | 212 | 2.12 | 954
|  | 213 | 2.13 | 958.5
|  | 214 | 2.14 | 963
|  | 215 | 2.15 | 967.5
|  | 216 | 2.16 | 972
|  | 217 | 2.17 | 976.5
|  | 218 | 2.18 | 981
|  | 219 | 2.19 | 985.5
|  | 220 | 2.2 | 990
|  | 221 | 2.21 | 994.5
|  | 222 | 2.22 | 999
|  | 223 | 2.23 | 1003.5
|  | 224 | 2.24 | 1008
|  | 225 | 2.25 | 1012.5
|  | 226 | 2.26 | 1017
|  | 227 | 2.27 | 1021.5
|  | 228 | 2.28 | 1026
|  | 229 | 2.29 | 1030.5
|  | 230 | 2.3 | 1035
|  | 231 | 2.31 | 1039.5
|  | 232 | 2.32 | 1044
|  | 233 | 2.33 | 1048.5
|  | 234 | 2.34 | 1053
|  | 235 | 2.35 | 1057.5
|  | 236 | 2.36 | 1062
|  | 237 | 2.37 | 1066.5
|  | 238 | 2.38 | 1071
|  | 239 | 2.39 | 1075.5
|  | 240 | 2.4 | 1080
|  | 241 | 2.41 | 1084.5
|  | 242 | 2.42 | 1089
|  | 243 | 2.43 | 1093.5
|  | 244 | 2.44 | 1098
|  | 245 | 2.45 | 1102.5
|  | 246 | 2.46 | 1107
|  | 247 | 2.47 | 1111.5
|  | 248 | 2.48 | 1116
|  | 249 | 2.49 | 1120.5
|  | 250 | 2.5 | 1125
|  | 251 | 2.51 | 1129.5
|  | 252 | 2.52 | 1134
|  | 253 | 2.53 | 1138.5
|  | 254 | 2.54 | 1143
|  | 255 | 2.55 | 1147.5
|  | 256 | 2.56 | 1152
|  | 257 | 2.57 | 1156.5
|  | 258 | 2.58 | 1161
|  | 259 | 2.59 | 1165.5
|  | 260 | 2.6 | 1170
|  | 261 | 2.61 | 1174.5
|  | 262 | 2.62 | 1179
|  | 263 | 2.63 | 1183.5
|  | 264 | 2.64 | 1188
|  | 265 | 2.65 | 1192.5
|  | 266 | 2.66 | 1197
|  | 267 | 2.67 | 1201.5
|  | 268 | 2.68 | 1206
|  | 269 | 2.69 | 1210.5
|  | 270 | 2.7 | 1215
|  | 271 | 2.71 | 1219.5
|  | 272 | 2.72 | 1224
|  | 273 | 2.73 | 1228.5
|  | 274 | 2.74 | 1233
|  | 275 | 2.75 | 1237.5
|  | 276 | 2.76 | 1242
|  | 277 | 2.77 | 1246.5
|  | 278 | 2.78 | 1251
|  | 279 | 2.79 | 1255.5
|  | 280 | 2.8 | 1260
|  | 281 | 2.81 | 1264.5
|  | 282 | 2.82 | 1269
|  | 283 | 2.83 | 1273.5
|  | 284 | 2.84 | 1278
|  | 285 | 2.85 | 1282.5
|  | 286 | 2.86 | 1287
|  | 287 | 2.87 | 1291.5
|  | 288 | 2.88 | 1296
|  | 289 | 2.89 | 1300.5
|  | 290 | 2.9 | 1305
|  | 291 | 2.91 | 1309.5
|  | 292 | 2.92 | 1314
|  | 293 | 2.93 | 1318.5
|  | 294 | 2.94 | 1323
|  | 295 | 2.95 | 1327.5
|  | 296 | 2.96 | 1332
|  | 297 | 2.97 | 1336.5
|  | 298 | 2.98 | 1341
|  | 299 | 2.99 | 1345.5
|  | 300 | 3 | 1350
|  | 301 | 3.01 | 1354.5
|  | 302 | 3.02 | 1359
|  | 303 | 3.03 | 1363.5
|  | 304 | 3.04 | 1368
|  | 305 | 3.05 | 1372.5
|  | 306 | 3.06 | 1377
|  | 307 | 3.07 | 1381.5
|  | 308 | 3.08 | 1386
|  | 309 | 3.09 | 1390.5
|  | 310 | 3.1 | 1395
|  | 311 | 3.11 | 1399.5
|  | 312 | 3.12 | 1404
|  | 313 | 3.13 | 1408.5
|  | 314 | 3.14 | 1413
|  | 315 | 3.15 | 1417.5
|  | 316 | 3.16 | 1422
|  | 317 | 3.17 | 1426.5
|  | 318 | 3.18 | 1431
|  | 319 | 3.19 | 1435.5
|  | 320 | 3.2 | 1440
|  | 321 | 3.21 | 1444.5
|  | 322 | 3.22 | 1449
|  | 323 | 3.23 | 1453.5
|  | 324 | 3.24 | 1458
|  | 325 | 3.25 | 1462.5
|  | 326 | 3.26 | 1467
|  | 327 | 3.27 | 1471.5

## FloodDepthCalBaseCase
Base case / current system for bui07 rainfall
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Piezometric level |  |  |  |  | Flooding?
Conduit | Contributing subcatchment area | Area | Overall cA |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume | Friction factor | Velocity | Head Loss | Head | Head
|  | A | A | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | l | Vt | Dh | Lower end | Upper end
[-] |  | ha | [-] | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | - | m/s | m | m AD | m AD | True/false
C1 | S6 | 0.14 | 0.0987 | 0.010857 | 0.010857 | 0.05 | -0.5 | -1.15 | -1.46 | 0.005 | 62 | 0.096023 | 0.2 | PVC | 1.9478 | 0.014057 | 0.34576 | 0.026553 | -0.6072 | -0.58064 | FALSE
C2 | S7 | 0.14 | 0.10185 | 0.011203 | 0.011203 | 0.04 | -0.5 | -1.16 | -1.45 | 0.005 | 58 | 0.097543 | 0.2 | PVC | 1.8221 | 0.014057 | 0.3568 | 0.026451 | -0.6072 | -0.58074 | FALSE
C3 | S5 | 0.17 | 0.10497 | 0.011547 | 0.033608 | -0.5 | -0.45 | -1.45 | -1.546 | 0.002 | 48 | 0.16894 | 0.3 | PVC | 3.3929 | 0.012953 | 0.47569 | 0.023902 | -0.6311 | -0.6072 | FALSE
C4 | S8 + S4 | 0.481 | 0.30312 | 0.033343 | 0.066951 | -0.45 | -0.242 | -1.546 | -1.65 | 0.002 | 52 | 0.23845 | 0.3 | PVC | 3.6757 | 0.012953 | 0.94764 | 0.10276 | -0.73386 | -0.6311 | FALSE
C5 | S3 + S9 | 0.503 | 0.31655 | 0.034821 | 0.10177 | -0.242 | 0.07 | -1.65 | -1.79 | 0.002 | 70 | 0.29399 | 0.4 | PVC | 8.7965 | 0.012246 | 0.81029 | 0.071717 | -0.80558 | -0.73386 | FALSE
C6 | S2+ S10 | 0.486 | 0.28382 | 0.03122 | 0.13299 | 0.07 | 0.15 | -1.79 | -1.914 | 0.002 | 62 | 0.33607 | 0.4 | PVC | 7.7911 | 0.012246 | 1.0589 | 0.10847 | -0.91405 | -0.80558 | FALSE
C7 | S11 | 0.206 | 0.14652 | 0.016117 | 0.016117 | 0.98 | 0.15 | -0.22 | -0.5 | 0.005 | 56 | 0.11699 | 0.2 | PVC | 1.7593 | 0.014057 | 0.51328 | 0.052852 | -0.91405 | -0.86119 | FALSE
C8 | S1 | 0.186 | 0.10927 | 0.01202 | 0.01202 | 0.56 | 0.15 | -0.64 | -0.89 | 0.005 | 50 | 0.10104 | 0.2 | PVC | 1.5708 | 0.014057 | 0.38281 | 0.026248 | -0.91405 | -0.8878 | FALSE
C9 | All |  |  |  | 0.16113 | 0.15 | 0.06 | -1.914 | -1.942 | 0.002 | 14 | 0.36992 | 0.4 | PVC | 1.7593 | 0.012246 | 1.2829 | 0.035954 | -0.95 | -0.91405 | FALSE
|  | 2.312 |  | 0.16113
Running 2030 rainfall through base case for "do nothing" flood damage
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Piezometric level |  |  |  |  | Flooding? | Number of houses in the subcatchment | Average flooding depth | Flood damage per rain event | Flood damage for whole neighbourhood per untill 2050
Conduit | Contributing subcatchment area | Area | Overall cA |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume | Friction factor | Velocity | Head Loss | Head | Head
|  | A |  | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | l | Vt | Dh | Lower end | Upper end
[-] |  | ha | ha | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | - | m/s | m | m AD | m AD | True/false | - | m | euros | euros
C1 | S6 | 0.14 | 0.0987 | 0.021633 | 0.021633 | 0.05 | -0.5 | -1.15 | -1.46 | 0.005 | 62 | 0.13554 | 0.2 | PVC | 1.9478 | 0.014057 | 0.68895 | 0.10542 | 0.41099 | 0.51641 | TRUE | 10.5969 | 0.6887 | 3290.333
C2 | S7 | 0.14 | 0.10185 | 0.022323 | 0.022323 | 0.04 | -0.5 | -1.16 | -1.45 | 0.005 | 58 | 0.13769 | 0.2 | PVC | 1.8221 | 0.014057 | 0.71093 | 0.10501 | 0.41099 | 0.51601 | TRUE | 10.5969 | 0.6935 | 3338.019
C3 | S5 | 0.17 | 0.10497 | 0.023008 | 0.066964 | -0.5 | -0.45 | -1.45 | -1.546 | 0.002 | 48 | 0.23847 | 0.3 | PVC | 3.3929 | 0.012953 | 0.94783 | 0.094896 | 0.3161 | 0.41099 | TRUE | 12.8676 | 0.83854 | 4863.9706
C4 | S8 + S4 | 0.481 | 0.30312 | 0.066437 | 0.1334 | -0.45 | -0.242 | -1.546 | -1.65 | 0.002 | 52 | 0.33659 | 0.3 | PVC | 3.6757 | 0.012953 | 1.8882 | 0.40798 | -0.091888 | 0.3161 | TRUE | 36.4079 | 0.4581 | 7536.4295
C5 | S3 + S9 | 0.503 | 0.31655 | 0.069382 | 0.20278 | -0.242 | 0.07 | -1.65 | -1.79 | 0.002 | 70 | 0.41499 | 0.4 | PVC | 8.7965 | 0.012246 | 1.6145 | 0.28473 | -0.37662 | -0.091888 | TRUE | 38.0731 | 0.29836 | 5139.8681
C6 | S2+ S10 | 0.486 | 0.28382 | 0.062207 | 0.26499 | 0.07 | 0.15 | -1.79 | -1.914 | 0.002 | 62 | 0.47439 | 0.4 | PVC | 7.7911 | 0.012246 | 2.1098 | 0.43064 | -0.80726 | -0.37662 | FALSE | 36.7863 | 0 | 0
C7 | S11 | 0.206 | 0.14652 | 0.032113 | 0.032113 | 0.98 | 0.15 | -0.22 | -0.5 | 0.005 | 56 | 0.16514 | 0.2 | PVC | 1.7593 | 0.014057 | 1.0227 | 0.20983 | -0.80726 | -0.59743 | FALSE | 15.5926 | 0 | 0
C8 | S1 | 0.186 | 0.10927 | 0.023951 | 0.023951 | 0.56 | 0.15 | -0.64 | -0.89 | 0.005 | 50 | 0.14262 | 0.2 | PVC | 1.5708 | 0.014057 | 0.76276 | 0.10421 | -0.80726 | -0.70305 | FALSE | 14.0787 | 0 | 0
C9 | All |  |  |  | 0.32105 | 0.15 | 0.06 | -1.914 | -1.942 | 0.002 | 14 | 0.52217 | 0.4 | PVC | 1.7593 | 0.012246 | 2.5562 | 0.14274 | -0.95 | -0.80726 | FALSE | 175 | 0
|  | 2.312 |  | 0.32105 | [19 empty] | 24168.6202 | 314192.0631
Round 1 Residents implementing SUDS
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Piezometric level |  |  |  |  | Flooding? | Number of houses in the subcatchment | Average flooding depth | Flood damage per rain event | Flood damage for whole neighbourhood per untill 2050
Conduit | Contributing subcatchment area | Area | Overall C.A after implementing SUDS |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume | Friction factor | Velocity | Head Loss | Head | Head
|  | A |  | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | l | Vt | Dh | Lower end | Upper end
[-] |  | ha |  | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | - | m/s | m | m AD | m AD | True/false | - | m | euros | euros
C1 | S6 | 0.14 | 0.09216 | 0.0202 | 0.0202 | 0.05 | -0.5 | -1.15 | -1.46 | 0.005 | 62 | 0.13098 | 0.2 | PVC | 1.9478 | 0.014057 | 0.6433 | 0.091914 | 0.22263 | 0.31454 | TRUE | 10.5969 | 0.49359 | 2384.2993
C2 | S7 | 0.14 | 0.092863 | 0.020353 | 0.020353 | 0.04 | -0.5 | -1.16 | -1.45 | 0.005 | 58 | 0.13147 | 0.2 | PVC | 1.8221 | 0.014057 | 0.6482 | 0.087299 | 0.22263 | 0.30993 | TRUE | 10.5969 | 0.49628 | 2384.2993
C3 | S5 | 0.17 | 0.097462 | 0.021362 | 0.061915 | -0.5 | -0.45 | -1.45 | -1.546 | 0.002 | 48 | 0.22931 | 0.3 | PVC | 3.3929 | 0.012953 | 0.87636 | 0.081123 | 0.14151 | 0.22263 | TRUE | 12.8676 | 0.65707 | 3821.6912
C4 | S8 + S4 | 0.481 | 0.2823 | 0.061874 | 0.12379 | -0.45 | -0.242 | -1.546 | -1.65 | 0.002 | 52 | 0.32424 | 0.3 | PVC | 3.6757 | 0.012953 | 1.7521 | 0.35131 | -0.2098 | 0.14151 | TRUE | 36.4079 | 0.31185 | 5242.7336
C5 | S3 + S9 | 0.503 | 0.29369 | 0.06437 | 0.18816 | -0.242 | 0.07 | -1.65 | -1.79 | 0.002 | 70 | 0.39974 | 0.4 | PVC | 8.7965 | 0.012246 | 1.4981 | 0.24514 | -0.45494 | -0.2098 | TRUE | 38.0731 | 0.27857 | 4797.2102
C6 | S2+ S10 | 0.486 | 0.26495 | 0.058071 | 0.24623 | 0.07 | 0.15 | -1.79 | -1.914 | 0.002 | 62 | 0.45729 | 0.4 | PVC | 7.7911 | 0.012246 | 1.9604 | 0.37183 | -0.82677 | -0.45494 | FALSE | 36.7863 | 0 | 0
C7 | S11 | 0.206 | 0.13347 | 0.029253 | 0.029253 | 0.98 | 0.15 | -0.22 | -0.5 | 0.005 | 56 | 0.15762 | 0.2 | PVC | 1.7593 | 0.014057 | 0.93162 | 0.17411 | -0.82677 | -0.65265 | FALSE | 15.5926 | 0 | 0
C8 | S1 | 0.186 | 0.10415 | 0.022828 | 0.022828 | 0.56 | 0.15 | -0.64 | -0.89 | 0.005 | 50 | 0.13924 | 0.2 | PVC | 1.5708 | 0.014057 | 0.72699 | 0.094666 | -0.82677 | -0.7321 | FALSE | 14.0787 | 0 | 0
C9 | All |  |  |  | 0.29831 | 0.15 | 0.06 | -1.914 | -1.942 | 0.002 | 14 | 0.50333 | 0.4 | PVC | 1.7593 | 0.012246 | 2.3751 | 0.12323 | -0.95 | -0.82677 | FALSE | 175 | 0
|  | 2.312 | 1.361 | 0.29831 | [19 empty] | 18630.2336 | 242193.0363
Round 1 Municipality upgrading the sewer pipes
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Piezometric level |  |  |  |  | Flooding? | Number of houses in the subcatchment | Average flooding depth | Flood damage per rain event | Flood damage for whole neighbourhood per untill 2050 | Pipe investment cost (one-time) | Pipe maintenance costs (untill 2050) | Base case diameters
Conduit | Contributing subcatchment area | Area | Overall cA |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume | Friction factor | Velocity | Head Loss | Head | Head
|  | A |  | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | l | Vt | Dh | Lower end | Upper end | [8 empty] | Factor for scaling costs for laying sewers in back alley | 6.5
[-] |  | ha | ha | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | - | m/s | m | m AD | m AD | True/false | - | m | euros | euros | euros | euros |  | Return period for 2030 rainfall | 2
C1 | S6 | 0.14 | 0.0987 | 0.021633 | 0.021633 | 0.05 | -0.5 | -1.15 | -1.46 | 0.005 | 62 | 0.13554 | 0.2 | PVC | 1.9478 | 0.014057 | 0.68895 | 0.10542 | 0.41099 | 0.51641 | TRUE | 10.5969 | 0.6887 | 3290.333 |  | 0 | 2089.1818 | 0.2 | Planning untill (year) | 2050
C2 | S7 | 0.14 | 0.10185 | 0.022323 | 0.022323 | 0.04 | -0.5 | -1.16 | -1.45 | 0.005 | 58 | 0.13769 | 0.2 | PVC | 1.8221 | 0.014057 | 0.71093 | 0.10501 | 0.41099 | 0.51601 | TRUE | 10.5969 | 0.6935 | 3338.019 |  | 0 | 1954.3958 | 0.2 | Current year | 2024
C3 | S5 | 0.17 | 0.10497 | 0.023008 | 0.066964 | -0.5 | -0.45 | -1.45 | -1.546 | 0.002 | 48 | 0.23847 | 0.3 | PVC | 3.3929 | 0.012953 | 0.94783 | 0.094896 | 0.3161 | 0.41099 | TRUE | 12.8676 | 0.83854 | 4863.9706 |  | 0 | 1917.1151 | 0.3 | Pipe length (m) | 679
C4 | S8 + S4 | 0.481 | 0.30312 | 0.066437 | 0.1334 | -0.45 | -0.242 | -1.546 | -1.65 | 0.002 | 52 | 0.33659 | 0.3 | PVC | 3.6757 | 0.012953 | 1.8882 | 0.40798 | -0.091888 | 0.3161 | TRUE | 36.4079 | 0.4581 | 7536.4295 |  | 0 | 2076.8747 | 0.3 | Maintanence frequency untill 2050 | 2
C5 | S3 + S9 | 0.503 | 0.31655 | 0.069382 | 0.20278 | -0.242 | 0.07 | -1.65 | -1.79 | 0.002 | 70 | 0.41499 | 0.4 | PVC | 8.7965 | 0.012246 | 1.6145 | 0.28473 | -0.37662 | -0.091888 | TRUE | 38.0731 | 0.29836 | 5139.8681 |  | 0 | 3313.8084 | 0.4
C6 | S2+ S10 | 0.486 | 0.28382 | 0.062207 | 0.26499 | 0.07 | 0.15 | -1.79 | -1.914 | 0.002 | 62 | 0.47439 | 0.4 | PVC | 7.7911 | 0.012246 | 2.1098 | 0.43064 | -0.80726 | -0.37662 | FALSE | 36.7863 | 0 | 0 |  | 0 | 2935.0874 | 0.4
C7 | S11 | 0.206 | 0.14652 | 0.032113 | 0.032113 | 0.98 | 0.15 | -0.22 | -0.5 | 0.005 | 56 | 0.16514 | 0.2 | PVC | 1.7593 | 0.014057 | 1.0227 | 0.20983 | -0.80726 | -0.59743 | FALSE | 15.5926 | 0 | 0 |  | 0 | 1887.0029 | 0.2
C8 | S1 | 0.186 | 0.10927 | 0.023951 | 0.023951 | 0.56 | 0.15 | -0.64 | -0.89 | 0.005 | 50 | 0.14262 | 0.2 | PVC | 1.5708 | 0.014057 | 0.76276 | 0.10421 | -0.80726 | -0.70305 | FALSE | 14.0787 | 0 | 0 |  | 0 | 1684.824 | 0.2
C9 | All |  |  |  | 0.32105 | 0.15 | 0.06 | -1.914 | -1.942 | 0.002 | 14 | 0.52217 | 0.4 | PVC | 1.7593 | 0.012246 | 2.5562 | 0.14274 | -0.95 | -0.80726 | FALSE | 175 | 0 | 0 |  | 0 | 662.7617 | 0.4
|  | 2.312 |  | 0.32105 | [19 empty] | 24168.6202 | 314192.0631 | 0 | 18521.0517
Round 2 Municipality and residents upgrading the sewer pipes
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Piezometric level |  |  |  |  | Flooding? | Number of houses in the subcatchment | Average flooding depth | Flood damage for whole neighbourhood per rain event | Flood damage for whole neighbourhood per untill 2050 | Pipe investment cost (one-time) | Pipe maintenance costs (untill 2050) | Base case diameters
Conduit | Contributing subcatchment area | Area | Overall cA |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume | Friction factor | Velocity | Head Loss | Head | Head
|  | A |  | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | l | Vt | Dh | Lower end | Upper end
[-] |  | ha | ha | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | - | m/s | m | m AD | m AD | True/false | - | m | euros | euros | Euros
C1 | S6 | 0.14 | 0.09216 | 0.0202 | 0.0202 | 0.05 | -0.5 | -1.15 | -1.46 | 0.005 | 62 | 0.13098 | 0.2 | PVC | 1.9478 | 0.014057 | 0.6433 | 0.091914 | 0.22263 | 0.31454 | TRUE | 10.5969 | 0.49359 | 2384.2993 |  | 0 | 2089.1818 | 0.2
C2 | S7 | 0.14 | 0.092863 | 0.020353 | 0.020353 | 0.04 | -0.5 | -1.16 | -1.45 | 0.005 | 58 | 0.13147 | 0.2 | PVC | 1.8221 | 0.014057 | 0.6482 | 0.087299 | 0.22263 | 0.30993 | TRUE | 10.5969 | 0.49628 | 2384.2993 |  | 0 | 1954.3958 | 0.2
C3 | S5 | 0.17 | 0.097462 | 0.021362 | 0.061915 | -0.5 | -0.45 | -1.45 | -1.546 | 0.002 | 48 | 0.22931 | 0.3 | PVC | 3.3929 | 0.012953 | 0.87636 | 0.081123 | 0.14151 | 0.22263 | TRUE | 12.8676 | 0.65707 | 3821.6912 |  | 0 | 1917.1151 | 0.3
C4 | S8 + S4 | 0.481 | 0.2823 | 0.061874 | 0.12379 | -0.45 | -0.242 | -1.546 | -1.65 | 0.002 | 52 | 0.32424 | 0.3 | PVC | 3.6757 | 0.012953 | 1.7521 | 0.35131 | -0.2098 | 0.14151 | TRUE | 36.4079 | 0.31185 | 5242.7336 |  | 0 | 2076.8747 | 0.3
C5 | S3 + S9 | 0.503 | 0.29369 | 0.06437 | 0.18816 | -0.242 | 0.07 | -1.65 | -1.79 | 0.002 | 70 | 0.39974 | 0.4 | PVC | 8.7965 | 0.012246 | 1.4981 | 0.24514 | -0.45494 | -0.2098 | TRUE | 38.0731 | 0.27857 | 4797.2102 |  | 0 | 3313.8084 | 0.4
C6 | S2+ S10 | 0.486 | 0.26495 | 0.058071 | 0.24623 | 0.07 | 0.15 | -1.79 | -1.914 | 0.002 | 62 | 0.45729 | 0.4 | PVC | 7.7911 | 0.012246 | 1.9604 | 0.37183 | -0.82677 | -0.45494 | FALSE | 36.7863 | 0 | 0 |  | 0 | 2935.0874 | 0.4
C7 | S11 | 0.206 | 0.13347 | 0.029253 | 0.029253 | 0.98 | 0.15 | -0.22 | -0.5 | 0.005 | 56 | 0.15762 | 0.2 | PVC | 1.7593 | 0.014057 | 0.93162 | 0.17411 | -0.82677 | -0.65265 | FALSE | 15.5926 | 0 | 0 |  | 0 | 1887.0029 | 0.2
C8 | S1 | 0.186 | 0.10415 | 0.022828 | 0.022828 | 0.56 | 0.15 | -0.64 | -0.89 | 0.005 | 50 | 0.13924 | 0.2 | PVC | 1.5708 | 0.014057 | 0.72699 | 0.094666 | -0.82677 | -0.7321 | FALSE | 14.0787 | 0 | 0 |  | 0 | 1684.824 | 0.2
C9 | All |  |  |  | 0.29831 | 0.15 | 0.06 | -1.914 | -1.942 | 0.002 | 14 | 0.50333 | 0.4 | PVC | 1.7593 | 0.012246 | 2.3751 | 0.12323 | -0.95 | -0.82677 | FALSE | 175 | 0 |  |  | 0 | 662.7617 | 0.4
|  | 2.312 |  | 0.29831 | [19 empty] | 18630.2336 | 242193.0363 | 0 | 18521.0517
Note on AB52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assumed here that if new pipes are put they need not be maintained untill 2050
Note on AB68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assumed here that if new pipes are put they need not be maintained untill 2050

## FloodDepthCalPublic
Round 1: Municipality putting new sewers in the public street
[16 empty] | Hydraulics | [10 empty] | Costs
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Filling percentage | Piezometric level |  |  |  |  | Flooding? | Number of houses in the subcatchment | Average flooding depth | Flood damage per rain event | Flood damage for whole neighbourhood per untill 2050 | Pipe cost per m | Pipe cost for total length | Pipe maintenance costs (untill 2050) | No flooding pipe diameters
Conduit | Contributing subcatchment area | Area | Overall cA |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume |  | Friction factor | Velocity | Head Loss | Head | Head
|  | A | A | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | Qt/Qfull | l | Vt | Dh | Lower end | Upper end | [9 empty] | Return period for 2030 rainfall | 2
[-] |  | ha | ha | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | % | - | m/s | m | m AD | m AD | True/false | - | m | euros | euros | Euros | Euros |  |  | Planning untill (year) | 2050
C6 | S6 | 0.14 | 0.0987 | 0.021633 | 0.021633 | -0.49 | 0 | -1.69 | -2 | 0.005 | 62 | 0.13554 | 0.2 | PVC | 1.9478 | 1.1106 | 0.014057 | 0.68895 | 0.10542 | 0.5679 | 0.67332 | TRUE | 10.5969 | 0.86561 | 4148.6808 |  | 396.9833 | 24612.9624 | 0 | 0.25 | Current year | 2024
C5 | S5 | 0.17 | 0.10497 | 0.023008 | 0.044641 | 0 | -0.53 | -2 | -2.134 | 0.002 | 67 | 0.19471 | 0.3 | PVC | 4.736 | 0.9426 | 0.012953 | 0.63186 | 0.058866 | 0.50904 | 0.5679 | TRUE | 12.8676 | 0.80347 | 4690.2574 |  | 470 | 31490 | 0 | 0.4 | Pipe length (m) | 679
C4 | S4 | 0.25 | 0.13969 | 0.030616 | 0.075258 | -0.53 | -0.58 | -2.134 | -2.248 | 0.002 | 57 | 0.25281 | 0.3 | PVC | 4.0291 | 1.8679 | 0.012953 | 1.0652 | 0.14233 | 0.36671 | 0.50904 | TRUE | 18.923 | 0.99287 | 8515.3547 |  | 470 | 26790 | 0 | 0.4 | Maintanence frequency untill 2050 | 2
C3 | S3 | 0.255 | 0.15969 | 0.035001 | 0.11026 | -0.58 | -0.61 | -2.248 | -2.372 | 0.002 | 62 | 0.306 | 0.3 | PVC | 4.3825 | 2.5159 | 0.012953 | 1.5606 | 0.3323 | 0.034404 | 0.36671 | TRUE | 19.3015 | 0.79556 | 6948.5294 |  | 470 | 29140 | 0 | 0.4 | Maintenance reduction cost factor for new pipes | 0.5
C2 | S2 | 0.242 | 0.12735 | 0.027913 | 0.13817 | -0.61 | 0.53 | -2.372 | -2.522 | 0.002 | 75 | 0.34255 | 0.3 | PVC | 5.3014 | 2.6063 | 0.012953 | 1.9557 | 0.63127 | -0.59687 | 0.034404 | TRUE | 18.3175 | 0.88564 | 7336.1484 |  | 470 | 35250 | 0 | 0.4
C1 | S1 | 0.186 | 0.10927 | 0.023951 | 0.16212 | 0.53 | 0.14 | -2.522 | -2.628 | 0.002 | 53 | 0.37106 | 0.35 | PVC | 5.0992 | 3.1794 | 0.012567 | 1.6859 | 0.27568 | -0.87255 | -0.59687 | FALSE | 14.0787 | 0 | 0 |  | 511.4 | 27104.1977 | 0 | 0.45
C7 | S7 | 0.14 | 0.10185 | 0.022323 | 0.022323 | -0.49 | -0.01 | -1.69 | -1.965 | 0.005 | 55 | 0.13769 | 0.2 | PVC | 1.7279 | 1.292 | 0.014057 | 0.71093 | 0.099583 | 0.21891 | 0.31849 | TRUE | 10.5969 | 0.5187 | 2479.6713 |  | 396.9833 | 21834.0796 | 0 | 0.25
C8 | S8 | 0.231 | 0.16343 | 0.035821 | 0.058144 | -0.01 | -0.47 | -1.965 | -2.089 | 0.002 | 62 | 0.22221 | 0.3 | PVC | 4.3825 | 1.3267 | 0.012953 | 0.82299 | 0.09241 | 0.1265 | 0.21891 | TRUE | 17.4849 | 0.41271 | 3304.6388 |  | 470 | 29140 | 0 | 0.35
C9 | S9 | 0.248 | 0.15686 | 0.03438 | 0.092524 | -0.47 | -0.13 | -2.089 | -2.215 | 0.002 | 63 | 0.28032 | 0.3 | PVC | 4.4532 | 2.0777 | 0.012953 | 1.3096 | 0.23778 | -0.11128 | 0.1265 | TRUE | 18.7716 | 0.30761 | 2618.6419 |  | 470 | 29610 | 0 | 0.4
C10 | S10 | 0.244 | 0.15647 | 0.034294 | 0.12682 | -0.13 | 0.91 | -2.215 | -2.355 | 0.002 | 70 | 0.32818 | 0.3 | PVC | 4.948 | 2.563 | 0.012953 | 1.795 | 0.49634 | -0.60761 | -0.11128 | TRUE | 18.4689 | 0.76817 | 6399.4593 |  | 470 | 32900 | 0 | 0.4
C11 | S11 | 0.206 | 0.14652 | 0.032113 | 0.15893 | 0.91 | 0.14 | -2.355 | -2.461 | 0.002 | 53 | 0.36739 | 0.35 | PVC | 5.0992 | 3.1168 | 0.012567 | 1.6527 | 0.26494 | -0.87255 | -0.60761 | FALSE | 15.5926 | 0 | 0 |  | 511.4 | 27104.1977 | 0 | 0.45
C12 | All | 2.312 | 1.4648 |  | 0.32105 | 0.15 | 0.06 | -2.461 | -2.489 | 0.002 | 14 | 0.52217 | 0.45 | PVC | 2.2266 | 14.419 | 0.011974 | 2.0197 | 0.077448 | -0.95 | -0.87255 |  | 175 |  | 46441.3819 | 603737.965 | 605.4612 | 8476.4574 | 0 | 0.55
[11 empty] | 679 |  |  |  | 46.1068 | [12 empty] | 323451.8948 | 0
Round 2: Residents and Municipality putting new sewers in the public street
[16 empty] | Hydraulics | [10 empty] | Costs
Section | Catchment Area |  |  | Wet weather flow | Cummulative flow | Proposed Pipe | [9 empty] | Filling percentage | Piezometric level |  |  |  |  | Flooding? | Number of houses in the subcatchment | Average flooding depth | Flood damage per rain event | Flood damage for whole neighbourhood per untill 2050 | Pipe cost per m | Pipe cost for total length | Pipe maintenance costs (untill 2050) | No flooding pipe diameters
Conduit | Contributing subcatchment area | Area | Overall cA |  |  | Ground Level |  | Invert level |  | Slope | Length | Diamater design req. | Pipe diameter | Pipe material | Full pipe volume |  | Friction factor | Velocity | Head Loss | Head | Head
|  | A | A | Qwwf=i.C.A | ∑Qwwf | Up | Down | Up | Down | [6 empty] | Qt/Qfull | l | Vt | Dh | Lower end | Upper end
[-] |  | ha | ha | m3/s | [m3/s] | m | m | m | m | % | m | m | m | [-] | m3 | % | - | m/s | m | m AD | m AD | True/false | - | m | euros | euros | Euros | Euros
C6 | S6 | 0.14 | 0.09216 | 0.0202 | 0.0202 | -0.49 | 0 | -1.69 | -2 | 0.005 | 62 | 0.13098 | 0.2 | PVC | 1.9478 | 1.0371 | 0.014057 | 0.6433 | 0.091914 | 0.37666 | 0.46857 | TRUE | 10.5969 | 0.66762 | 3194.9611 |  | 396.9833 | 24612.9624 | 0 | 0.25
C5 | S5 | 0.17 | 0.097462 | 0.021362 | 0.041561 | 0 | -0.53 | -2 | -2.134 | 0.002 | 67 | 0.18787 | 0.3 | PVC | 4.736 | 0.87757 | 0.012953 | 0.58827 | 0.051023 | 0.32564 | 0.37666 | TRUE | 12.8676 | 0.61615 | 3590.0735 |  | 470 | 31490 | 0 | 0.4
C4 | S4 | 0.25 | 0.13197 | 0.028925 | 0.070486 | -0.53 | -0.58 | -2.134 | -2.248 | 0.002 | 57 | 0.24466 | 0.3 | PVC | 4.0291 | 1.7494 | 0.012953 | 0.99768 | 0.12485 | 0.20079 | 0.32564 | TRUE | 18.923 | 0.81821 | 6982.5908 |  | 470 | 26790 | 0 | 0.4
C3 | S3 | 0.255 | 0.148 | 0.032438 | 0.10292 | -0.58 | -0.61 | -2.248 | -2.372 | 0.002 | 62 | 0.29565 | 0.3 | PVC | 4.3825 | 2.3485 | 0.012953 | 1.4568 | 0.28956 | -0.088775 | 0.20079 | TRUE | 19.3015 | 0.65101 | 5732.5368 |  | 470 | 29140 | 0 | 0.4
C2 | S2 | 0.242 | 0.11988 | 0.026275 | 0.1292 | -0.61 | 0.53 | -2.372 | -2.522 | 0.002 | 75 | 0.33124 | 0.3 | PVC | 5.3014 | 2.4371 | 0.012953 | 1.8287 | 0.55195 | -0.64072 | -0.088775 | TRUE | 18.3175 | 0.84597 | 7006.4338 |  | 470 | 35250 | 0 | 0.4
C1 | S1 | 0.186 | 0.10415 | 0.022828 | 0.15203 | 0.53 | 0.14 | -2.522 | -2.628 | 0.002 | 53 | 0.35932 | 0.35 | PVC | 5.0992 | 2.9814 | 0.012567 | 1.5809 | 0.24242 | -0.88314 | -0.64072 | FALSE | 14.0787 | 0 | 0 |  | 511.4 | 27104.1977 | 0 | 0.45
C7 | S7 | 0.14 | 0.092863 | 0.020353 | 0.020353 | -0.49 | -0.01 | -1.69 | -1.965 | 0.005 | 55 | 0.13147 | 0.2 | PVC | 1.7279 | 1.1779 | 0.014057 | 0.6482 | 0.082784 | 0.043451 | 0.12623 | TRUE | 10.5969 | 0.33484 | 1621.3235 |  | 396.9833 | 21834.0796 | 0 | 0.25
C8 | S8 | 0.231 | 0.15033 | 0.03295 | 0.053303 | -0.01 | -0.47 | -1.965 | -2.089 | 0.002 | 62 | 0.21276 | 0.3 | PVC | 4.3825 | 1.2163 | 0.012953 | 0.75447 | 0.077663 | -0.034212 | 0.043451 | TRUE | 17.4849 | 0.24462 | 1967.0469 |  | 470 | 29140 | 0 | 0.35
C9 | S9 | 0.248 | 0.14569 | 0.031932 | 0.085236 | -0.47 | -0.13 | -2.089 | -2.215 | 0.002 | 63 | 0.26905 | 0.3 | PVC | 4.4532 | 1.914 | 0.012953 | 1.2064 | 0.20179 | -0.236 | -0.034212 | TRUE | 18.7716 | 0.27089 | 2365.2249 |  | 470 | 29610 | 0 | 0.4
C10 | S10 | 0.244 | 0.14507 | 0.031796 | 0.11703 | -0.13 | 0.91 | -2.215 | -2.355 | 0.002 | 70 | 0.31526 | 0.3 | PVC | 4.948 | 2.3652 | 0.012953 | 1.6565 | 0.42269 | -0.65869 | -0.236 | FALSE | 18.4689 | 0 | 0 |  | 470 | 32900 | 0 | 0.4
C11 | S11 | 0.206 | 0.13347 | 0.029253 | 0.14628 | 0.91 | 0.14 | -2.355 | -2.461 | 0.002 | 53 | 0.35247 | 0.35 | PVC | 5.0992 | 2.8688 | 0.012567 | 1.5212 | 0.22445 | -0.88314 | -0.65869 | FALSE | 15.5926 | 0 | 0 |  | 511.4 | 27104.1977 | 0 | 0.45
C12 | All | 2.312 | 1.361 |  | 0.29831 | 0.15 | 0.06 | -2.461 | -2.489 | 0.002 | 14 | 0.50333 | 0.45 | PVC | 2.2266 | 13.3976 | 0.011974 | 1.8766 | 0.066864 | -0.95 | -0.88314 |  | 175 |  | 32460.1914 | 421982.4881 | 605.4612 | 8476.4574 | 0 | 0.55
[11 empty] | 679 |  |  |  | 46.1068 | [12 empty] | 323451.8948 | 0